CYPRUS BESS PROJECT

Scope of Supply

Project Description

The proposed project refers to a Battery Energy Storage System (BEES), located in the Larnaca District, Psevdas Community, Cluster C, with the following technical characteristics:

- Output Power: 59 MW – Export Capacity at the Point of Connection (POC): 50 MW

- Energy Storage Capacity: 120 MWh – Energy Capacity at the Point of Connection (POC): 100 MWh

The installation will receive electrical energy from the high-voltage transmission network of the Cyprus Electricity Authority (EAC), operating at a voltage level of 132 kV AC

Scope of Supply

The proposal of the supplier should include the following:

- Battery Energy Storage System (DC side), that includes:

- Battery Containers

- Battery Management System (BMS)

- PCS & Transformer (AC side), that includes:

- Power Converters (PCS)

- Step – up Power Transformers

- Ring Main Units

- Commissioning on site (hot & cold)

- Training on site

- (optional) Energy Management System (hardware & software), for the monitoring and control of all proposed equipment.

- Duties & Logistics: DDP, Larnaka

- Product Warranty min 3Y

Additionally, the proposal of the supplier can include the following:

Long Term Services (Preventive / Corrective Maintenance, Spare Parts) for Y4-Y10

Request for proposal

The technical proposal should at least include the following:

- Technical Description of the proposed system and equipment (BESS, PCS, T/F, fire suppression, control etc.)

- Roundtrip efficiency curve, based on the battery augmentation plan.

- Battery degradation curve, based on the battery augmentation plan.

- Concept layout and single-line diagram of the system.

- Datasheets, user manuals, installation manuals and operation manuals for the proposed equipment. Electrical and mechanical specifications to be included.

Attached files

- CERA License

- Cadastral Plan

- Topographical Plan Drawing