## Financial
BESS (financial)
Project name | Larnaca Cyprus
Max power | 50 MW
Rated voltage (POC) | 132kV
Guaranteed energy capacity | 100 MWh
Lighthief
[China]
System | Type [Oversized/ Augmentation] | -
Time of augmentation
| Nameplate DC capacity | MWh
| Usable DC capacity (after SAT) | MWh
| Usable AC capacity at POC (after SAT) | MWh
| Usable DC capacity (after 10 years) | MWh
| Usable AC capacity at POC (after 10 years) | MWh
| DC containers number | -
| Skid enclosure | YES/NO
Skids containers number
Total costs | Basic cost - Batteries | €
| Basic cost - Skid | €
| Transportation costs | €
| Installation & commissioning costs | €
| Import taxes | €
| Total CapEx | €
| Total CapEx cost | €/MWh
| Product & Perform. warranty [Y1-2] | €
| Product & Perform. warranty [Y3] | €
| Product & Perform. warranty [Y4-Y10] | €
| Corrective maintenance [Y1-Y10] | €
| Preventive maintainance [Y1-Y10] | €
| Spare parts [Y1-10] | €
| Total Opex | €
| Total Opex | €/MWh
| Battery recycling costs | €
Counterparties | Supply
SLA
Production place & FATs
Delivery terms | Place
Type
Delivery time | Production time
Transport time
Product Waranty | Product waranty DC part
Product waranty AC part
Performance waranty
O&M | Spare parts availability
Spare parts costs
Service team (local, …)
Reference projects | Greece
Europe
Offer | Date
Validity
Contact | Person
E-mail

## Technical
BESS (technical)
Project name | Larnaca Cyprus
Max power | 50 MW
Rated voltage (POC) | 132kV
Guaranteed energy capacity | 100 MWh
|  |  | Lighthief | Ex work | Delivery at factory
|  |  | [China] | DAP | Delivered at place
System | Type [Oversized/ Augmentation] | - |  | DDP | Delivered Duty Paid
| Nominal Capacity (DC) - Nmaeplate | MWh
DC container | Number of containers
Technology
(battery) | Capacity per container | kWh
| DC Voltage rated | V
| DC Voltage range | V
| Operating profile | cycle/ day
Allowed C-rate
| Noise sound @1m | dB
| Temperature range anbient | ° C
Humidity
Level of protection
Anti-corrosion class
Cooling type
| Auxiliary consumption | kW
Fire protection system
| Lifetime | years
cycles
| Weight | tn
| Dimensions (LxWxH) | mm
Skid mounting | Skid enclosure (YES/NO)
Skids number
Technology
| Weight | tn
| Dimensions (WxDxH) | mm
PCS (DC to AC) | Manufacturer & Model
| Number | -
| Nominal power | kW
| Weight | kg
| Dimensions (WxDxH) | mm
Transformers | Manufacturer & Model
Number
Rated power
Nominal voltage ratio
Switchgear | Manufacturer & Model
Number
| Nominal voltage | kV
| Nominal operating current | A
Notes
Notes | Training

## Other
BESS (other)
Lighthief
[China]
Cells | Model
Chemical composition
| Rated Energy | kWh
| Rated Voltage | V
| Operating Voltage range | V
| Cell weight | kg
| Cell dimensions (W x D x H) | mm
Modules | Model
Configuration
| Rated Energy | kWh
| Rated Voltage | V
| Operating Voltage range | V
| Weight | kg
| Dimensions (W x D x H) | mm
Container | Model
Configuration
| Rated Energy | kWh
| Rated Voltage | V
| Operating Voltage range | V
| Weight | kg
| Dimensions (W x D x H) | mm
Modules per container
Racks per container
Modules per rack