## Dashboard
PV + BESS SCENARIO ANALYSIS — LIGHTHIEF CYPRUS
Softades (Larnaka) · Αρκατζιά (Αμμόχωστος) ¦ AE Solar Meteor TOPCon Bifacial · White Albedo 0.70 · 4h BESS · 65% Bank Finance
Cost basis: Agios Theodoros PARK-RTB-2026 confirmed CAPEX stack ¦ PV €720/kWp · BESS €127k/MWh · O&M €15/kWp+€2,500/MWh ¦ April 2026
Metric | Plot 1 · South 25° 95 kWp · Softades | Plot 1 · EW 12° 150 kWp · Softades | Plot 2 · South 25° 270 kWp · Αρκατζιά | Plot 2 · EW 12° 420 kWp · Αρκατζιά
PLOT DETAILS
Plot Reference | 0/2150 | 0/2150 | 0/2257 | 0/2257
Owner | Παύλος Παύλου | Παύλος Παύλου | Παύλου Κούλλα | Παύλου Κούλλα
Land Area (m²) | 1363 | 1363 | 3704 | 3704
Orientation | South-Facing 25° | East–West 12° | South-Facing 25° | East–West 12°
Panel Count | 44 | 69 | 125 | 194
System Size (kWp) | 95 | 150 | 270 | 420
BESS Duration / Capacity | 4h / 0.38 MWh | 4h / 0.6 MWh | 4h / 1.08 MWh | 4h / 1.68 MWh
Specific Yield (kWh/kWp) | 2150 | 1450 | 2150 | 1450
CAPITAL EXPENDITURE (CAPEX)
PV EPC | 68400 | 108000 | 194400 | 302400
BESS (4h installed) | 48260 | 76200 | 137160 | 213360
Permitting & Docs | 35000 | 35000 | 35000 | 35000
TOTAL CAPEX | 151660 | 219200 | 366560 | 550760
ANNUAL PERFORMANCE (Year 1)
Production (MWh/yr) | 204.2 | 217.5 | 580.5 | 609
Gross Revenue (€/yr) | 32680 | 34800 | 92880 | 97440
O&M Cost (€/yr) | 4375 | 5750 | 9250 | 13000
EBITDA (€/yr) | 28305 | 29050 | 83630 | 84440
BANK FINANCING (65% LTV · 5.5% · 12yr)
Senior Loan (65%) | 98579 | 142480 | 238264 | 357994
Equity Required (35%) | 53081 | 76720 | 128296 | 192766
Annual Debt Service | 11438.0456 | 16531.8449 | 27645.5887 | 41537.7686
DSCR (Yr 1) | 2.47 | 1.76 | 3.03 | 2.03
Net Cash / yr (after O&M + debt) | 16866.9544 | 12518.1551 | 55984.4113 | 42902.2314
RETURNS SUMMARY
Unlevered Payback (yrs) | 5.4 | 7.5 | 4.4 | 6.5
Equity Payback (levered, yrs) | 3.2 | 6.3 | 2.3 | 4.6
20-Year Net Profit (€) | 404593 | 356794 | 1271930 | 1118040
O&M Breakdown: PV €15/kWp/yr + BESS €2,500/MWh/yr + Fixed monitoring/insurance €2,000–2,500/yr ¦ Source: Agios Theodoros RTB opex stack (pvOm €15.15/kWp, bessOm €2,462/MWh)
⚠ BESS sizing note: All systems (0.38–1.68 MWh) are below Linyang minimum container (5.015 MWh). Practical BESS: sub-5MWh commercial units (Huawei/Sungrow). €127k/MWh applied proportionally from confirmed Agios Theodoros stack.
⚠ Plot 2 (0/2257) has Provisional title (Art.10, Law 44/84). Confirm upgrade to full title before permitting. Both plots agricultural — Town Planning Permission required.

## Inputs
INPUTS — PV + BESS Scenario Model · Softades & Αρκατζιά
Yellow cells are editable. Calculated cells update automatically.
EPC & EQUIPMENT COSTS
PV EPC Rate | 720 | €/kWp | Lighthief confirmed — Agios Theodoros RTB (€0.72/Wp)
BESS Installed Cost | 127000 | €/MWh | 4-hour LFP, all-in installed. Agios Theodoros RTB confirmed stack
Permitting & Docs | 35000 | €/park | CERA license, town planning, building permit, EAC study, consultant fees
YIELD ASSUMPTIONS
South-Facing Yield | 2150 | kWh/kWp/yr | AE Solar Meteor + white albedo 0.70: monofacial 1,950 + 10.3% bifacial gain (80% bifaciality)
East–West Yield | 1450 | kWh/kWp/yr | AE Solar Meteor + white albedo 0.70 at 12° tilt: monofacial 1,380 + 5% bifacial gain
PV Annual Degradation | 0.4 | %/yr | N-type TOPCon — low degradation rate
Electricity Tariff | 0.16 | €/kWh | Net metering avoided cost / PPA rate
O&M COSTS (per year)
PV O&M Rate | 15 | €/kWp/yr | Cleaning, inspection, monitoring. Ref: Agios Theodoros pvOm €15.15/kWp
BESS O&M Rate | 2500 | €/MWh/yr | Maintenance, spares. Ref: Agios Theodoros bessOm €2,462/MWh
Fixed Overhead | 2,000 – 2,500 | €/yr | SCADA monitoring + insurance (Plot 1: €2,000; Plot 2: €2,500)
BANK FINANCING
Loan-to-Value (LTV) | 65 | % | Senior debt — Cyprus green / SME loan
Interest Rate | 5.5 | % p.a. | Fixed rate
Loan Term | 12 | years | Annuity (equal annual payments)
Annuity Factor | 0.11603 |  | r×(1+r)^n / ((1+r)^n−1) — auto-calculated
PANEL SPECIFICATION — AE SOLAR METEOR
Model | AE620CMER-132BDS / similar
Technology | N-type TOPCon, half-cut cells
Power Range | 620–630 | Wp
Module Efficiency | 22.97 | %
Bifaciality | 80 | % (±5%)
Module Dimensions | 2,383 × 1,133 | mm
Weight | 33.7 | kg
Product Warranty | 30 | years
Performance Warranty | 30 | years (linear)
GROUND COVER (WHITE ALBEDO)
Albedo Coefficient | 0.7 |  | White limestone gravel or coated concrete — matches Agios Theodoros RTB spec
South Bifacial Gain | 10.3% |  | Bifaciality 80% × rear/front irradiance ratio at 25° tilt, GHI 1,900 kWh/m²
EW Bifacial Gain | 5.0% |  | Lower rear irradiance at 12° tilt — conservative estimate

## CF_P1S
15/20-YEAR CASH FLOW — Plot 1 · South-Facing 25° · 95 kWp · Softades, Larnaka
Owner: Παύλος Παύλου ¦ Plot ref: 0/2150 ¦ CAPEX: €151,660 ¦ Equity: €53,081 ¦ Loan: €98,579 @ 5.5%/12yr ¦ BESS: 0.38 MWh (4h)
Y1 Revenue: €32,680 ¦ Y1 EBITDA: €28,305 ¦ DSCR: 2.47× ¦ Net cash/yr (Y1): €16,867 ¦ Equity payback: 3.2 yr ¦ Unlevered payback: 5.4 yr
Year | PV Degrad. | Production (MWh) | Gross Revenue (€) | O&M Cost (€) | EBITDA (€) | Debt Service (€) | Net Cash (€) | Cumulative (€)
Year 0 | — | — | — | — | — | — | −€53,081 (equity in) | −€53,081
Year 1 | 100.0% | 204.2 | 32680 | 4375 | 28305 | 11438 | 16867 | -36214
Year 2 | 99.6% | 203.4 | 32549 | 4375 | 28174 | 11438 | 16736 | -19478
Year 3 | 99.2% | 202.6 | 32419 | 4375 | 28044 | 11438 | 16606 | -2872
Year 4 | 98.8% | 201.8 | 32289 | 4375 | 27914 | 11438 | 16476 | 13605
Year 5 | 98.4% | 201 | 32160 | 4375 | 27785 | 11438 | 16347 | 29952
Year 6 | 98.0% | 200.2 | 32032 | 4375 | 27657 | 11438 | 16219 | 46170
Year 7 | 97.6% | 199.4 | 31903 | 4375 | 27528 | 11438 | 16090 | 62261
Year 8 | 97.2% | 198.6 | 31776 | 4375 | 27401 | 11438 | 15963 | 78224
Year 9 | 96.8% | 197.8 | 31649 | 4375 | 27274 | 11438 | 15836 | 94059
Year 10 | 96.5% | 197 | 31522 | 4375 | 27147 | 11438 | 15709 | 109768
Year 11 | 96.1% | 196.2 | 31396 | 4375 | 27021 | 11438 | 15583 | 125351
Year 12 | 95.7% | 195.4 | 31270 | 4375 | 26895 | 11438 | 15457 | 140809
Year 13 | 95.3% | 194.7 | 31145 | 4375 | 26770 | 0 | 26770 | 167579
Year 14 | 94.9% | 193.9 | 31021 | 4375 | 26646 | 0 | 26646 | 194225
Year 15 | 94.5% | 193.1 | 30897 | 4375 | 26522 | 0 | 26522 | 220747
Year 16 | 94.2% | 192.3 | 30773 | 4375 | 26398 | 0 | 26398 | 247145
Year 17 | 93.8% | 191.6 | 30650 | 4375 | 26275 | 0 | 26275 | 273420
Year 18 | 93.4% | 190.8 | 30527 | 4375 | 26152 | 0 | 26152 | 299573
Year 19 | 93.0% | 190 | 30405 | 4375 | 26030 | 0 | 26030 | 325603
Year 20 | 92.7% | 189.3 | 30284 | 4375 | 25909 | 0 | 25909 | 351512
|  |  | 629349 | 87500 |  | 137257 | 404593 | 351512
🟢 Green rows = post-debt period (no more debt service). ✅ Bright green = year equity is fully recovered. Note: PV revenue decreases 0.4%/yr (N-type TOPCon degradation).

## CF_P1EW
15/20-YEAR CASH FLOW — Plot 1 · East–West 12° · 150 kWp · Softades, Larnaka
Owner: Παύλος Παύλου ¦ Plot ref: 0/2150 ¦ CAPEX: €219,200 ¦ Equity: €76,720 ¦ Loan: €142,480 @ 5.5%/12yr ¦ BESS: 0.6 MWh (4h)
Y1 Revenue: €34,800 ¦ Y1 EBITDA: €29,050 ¦ DSCR: 1.76× ¦ Net cash/yr (Y1): €12,518 ¦ Equity payback: 6.3 yr ¦ Unlevered payback: 7.5 yr
Year | PV Degrad. | Production (MWh) | Gross Revenue (€) | O&M Cost (€) | EBITDA (€) | Debt Service (€) | Net Cash (€) | Cumulative (€)
Year 0 | — | — | — | — | — | — | −€76,720 (equity in) | −€76,720
Year 1 | 100.0% | 217.5 | 34800 | 5750 | 29050 | 16532 | 12518 | -64202
Year 2 | 99.6% | 216.6 | 34661 | 5750 | 28911 | 16532 | 12379 | -51823
Year 3 | 99.2% | 215.8 | 34522 | 5750 | 28772 | 16532 | 12240 | -39583
Year 4 | 98.8% | 214.9 | 34384 | 5750 | 28634 | 16532 | 12102 | -27480
Year 5 | 98.4% | 214 | 34247 | 5750 | 28497 | 16532 | 11965 | -15516
Year 6 | 98.0% | 213.2 | 34110 | 5750 | 28360 | 16532 | 11828 | -3688
Year 7 | 97.6% | 212.3 | 33973 | 5750 | 28223 | 16532 | 11691 | 8003
Year 8 | 97.2% | 211.5 | 33837 | 5750 | 28087 | 16532 | 11555 | 19559
Year 9 | 96.8% | 210.6 | 33702 | 5750 | 27952 | 16532 | 11420 | 30979
Year 10 | 96.5% | 209.8 | 33567 | 5750 | 27817 | 16532 | 11285 | 42264
Year 11 | 96.1% | 209 | 33433 | 5750 | 27683 | 16532 | 11151 | 53415
Year 12 | 95.7% | 208.1 | 33299 | 5750 | 27549 | 16532 | 11017 | 64432
Year 13 | 95.3% | 207.3 | 33166 | 5750 | 27416 | 0 | 27416 | 91848
Year 14 | 94.9% | 206.5 | 33033 | 5750 | 27283 | 0 | 27283 | 119131
Year 15 | 94.5% | 205.6 | 32901 | 5750 | 27151 | 0 | 27151 | 146282
Year 16 | 94.2% | 204.8 | 32769 | 5750 | 27019 | 0 | 27019 | 173302
Year 17 | 93.8% | 204 | 32638 | 5750 | 26888 | 0 | 26888 | 200190
Year 18 | 93.4% | 203.2 | 32508 | 5750 | 26758 | 0 | 26758 | 226948
Year 19 | 93.0% | 202.4 | 32378 | 5750 | 26628 | 0 | 26628 | 253576
Year 20 | 92.7% | 201.6 | 32248 | 5750 | 26498 | 0 | 26498 | 280074
|  |  | 670176 | 115000 |  | 198382 | 356794 | 280074
🟢 Green rows = post-debt period (no more debt service). ✅ Bright green = year equity is fully recovered. Note: PV revenue decreases 0.4%/yr (N-type TOPCon degradation).

## CF_P2S
15/20-YEAR CASH FLOW — Plot 2 · South-Facing 25° · 270 kWp · Αρκατζιά, Αμμόχωστος
Owner: Παύλου Κούλλα ¦ Plot ref: 0/2257 ¦ CAPEX: €366,560 ¦ Equity: €128,296 ¦ Loan: €238,264 @ 5.5%/12yr ¦ BESS: 1.08 MWh (4h)
Y1 Revenue: €92,880 ¦ Y1 EBITDA: €83,630 ¦ DSCR: 3.03× ¦ Net cash/yr (Y1): €55,984 ¦ Equity payback: 2.3 yr ¦ Unlevered payback: 4.4 yr
Year | PV Degrad. | Production (MWh) | Gross Revenue (€) | O&M Cost (€) | EBITDA (€) | Debt Service (€) | Net Cash (€) | Cumulative (€)
Year 0 | — | — | — | — | — | — | −€128,296 (equity in) | −€128,296
Year 1 | 100.0% | 580.5 | 92880 | 9250 | 83630 | 27646 | 55984 | -72312
Year 2 | 99.6% | 578.2 | 92508 | 9250 | 83258 | 27646 | 55613 | -16699
Year 3 | 99.2% | 575.9 | 92138 | 9250 | 82888 | 27646 | 55243 | 38544
Year 4 | 98.8% | 573.6 | 91770 | 9250 | 82520 | 27646 | 54874 | 93418
Year 5 | 98.4% | 571.3 | 91403 | 9250 | 82153 | 27646 | 54507 | 147926
Year 6 | 98.0% | 569 | 91037 | 9250 | 81787 | 27646 | 54142 | 202067
Year 7 | 97.6% | 566.7 | 90673 | 9250 | 81423 | 27646 | 53777 | 255845
Year 8 | 97.2% | 564.4 | 90310 | 9250 | 81060 | 27646 | 53415 | 309260
Year 9 | 96.8% | 562.2 | 89949 | 9250 | 80699 | 27646 | 53054 | 362313
Year 10 | 96.5% | 559.9 | 89589 | 9250 | 80339 | 27646 | 52694 | 415007
Year 11 | 96.1% | 557.7 | 89231 | 9250 | 79981 | 27646 | 52335 | 467342
Year 12 | 95.7% | 555.5 | 88874 | 9250 | 79624 | 27646 | 51978 | 519321
Year 13 | 95.3% | 553.2 | 88519 | 9250 | 79269 | 0 | 79269 | 598589
Year 14 | 94.9% | 551 | 88164 | 9250 | 78914 | 0 | 78914 | 677504
Year 15 | 94.5% | 548.8 | 87812 | 9250 | 78562 | 0 | 78562 | 756065
Year 16 | 94.2% | 546.6 | 87461 | 9250 | 78211 | 0 | 78211 | 834276
Year 17 | 93.8% | 544.4 | 87111 | 9250 | 77861 | 0 | 77861 | 912137
Year 18 | 93.4% | 542.3 | 86762 | 9250 | 77512 | 0 | 77512 | 989649
Year 19 | 93.0% | 540.1 | 86415 | 9250 | 77165 | 0 | 77165 | 1066814
Year 20 | 92.7% | 537.9 | 86070 | 9250 | 76820 | 0 | 76820 | 1143634
|  |  | 1788677 | 185000 |  | 331747 | 1271930 | 1143634
🟢 Green rows = post-debt period (no more debt service). ✅ Bright green = year equity is fully recovered. Note: PV revenue decreases 0.4%/yr (N-type TOPCon degradation).

## CF_P2EW
15/20-YEAR CASH FLOW — Plot 2 · East–West 12° · 420 kWp · Αρκατζιά, Αμμόχωστος
Owner: Παύλου Κούλλα ¦ Plot ref: 0/2257 ¦ CAPEX: €550,760 ¦ Equity: €192,766 ¦ Loan: €357,994 @ 5.5%/12yr ¦ BESS: 1.68 MWh (4h)
Y1 Revenue: €97,440 ¦ Y1 EBITDA: €84,440 ¦ DSCR: 2.03× ¦ Net cash/yr (Y1): €42,902 ¦ Equity payback: 4.6 yr ¦ Unlevered payback: 6.5 yr
Year | PV Degrad. | Production (MWh) | Gross Revenue (€) | O&M Cost (€) | EBITDA (€) | Debt Service (€) | Net Cash (€) | Cumulative (€)
Year 0 | — | — | — | — | — | — | −€192,766 (equity in) | −€192,766
Year 1 | 100.0% | 609 | 97440 | 13000 | 84440 | 41538 | 42902 | -149864
Year 2 | 99.6% | 606.6 | 97050 | 13000 | 84050 | 41538 | 42512 | -107351
Year 3 | 99.2% | 604.1 | 96662 | 13000 | 83662 | 41538 | 42124 | -65227
Year 4 | 98.8% | 601.7 | 96275 | 13000 | 83275 | 41538 | 41738 | -23489
Year 5 | 98.4% | 599.3 | 95890 | 13000 | 82890 | 41538 | 41353 | 17863
Year 6 | 98.0% | 596.9 | 95507 | 13000 | 82507 | 41538 | 40969 | 58832
Year 7 | 97.6% | 594.5 | 95125 | 13000 | 82125 | 41538 | 40587 | 99419
Year 8 | 97.2% | 592.2 | 94744 | 13000 | 81744 | 41538 | 40206 | 139625
Year 9 | 96.8% | 589.8 | 94365 | 13000 | 81365 | 41538 | 39827 | 179453
Year 10 | 96.5% | 587.4 | 93988 | 13000 | 80988 | 41538 | 39450 | 218903
Year 11 | 96.1% | 585.1 | 93612 | 13000 | 80612 | 41538 | 39074 | 257977
Year 12 | 95.7% | 582.7 | 93237 | 13000 | 80237 | 41538 | 38700 | 296677
Year 13 | 95.3% | 580.4 | 92864 | 13000 | 79864 | 0 | 79864 | 376541
Year 14 | 94.9% | 578.1 | 92493 | 13000 | 79493 | 0 | 79493 | 456034
Year 15 | 94.5% | 575.8 | 92123 | 13000 | 79123 | 0 | 79123 | 535157
Year 16 | 94.2% | 573.5 | 91754 | 13000 | 78754 | 0 | 78754 | 613911
Year 17 | 93.8% | 571.2 | 91387 | 13000 | 78387 | 0 | 78387 | 692299
Year 18 | 93.4% | 568.9 | 91022 | 13000 | 78022 | 0 | 78022 | 770321
Year 19 | 93.0% | 566.6 | 90658 | 13000 | 77658 | 0 | 77658 | 847979
Year 20 | 92.7% | 564.3 | 90295 | 13000 | 77295 | 0 | 77295 | 925274
|  |  | 1876493 | 260000 |  | 498453 | 1118040 | 925274
🟢 Green rows = post-debt period (no more debt service). ✅ Bright green = year equity is fully recovered. Note: PV revenue decreases 0.4%/yr (N-type TOPCon degradation).

## O&M_Breakdown
O&M COST BREAKDOWN — ALL SCENARIOS
O&M Component | Plot 1 South-Facing 25° 95 kWp | Plot 1 East–West 12° 150 kWp | Plot 2 South-Facing 25° 270 kWp | Plot 2 East–West 12° 420 kWp
PV O&M (€15/kWp/yr) | 1425 | 2250 | 4050 | 6300
BESS O&M (€2,500/MWh/yr) | 950 | 1500 | 2700 | 4200
Monitoring + Insurance (flat) | 2000 | 2000 | 2500 | 2500
TOTAL O&M / yr | 4375 | 5750 | 9250 | 13000
O&M basis: Agios Theodoros RTB confirmed opex (pvOm €15.15/kWp, bessOm €2,462/MWh). Monitoring/insurance flat fee covers SCADA access, site insurance, compliance renewals. O&M increases ~20% after Year 5 as plant ages — modelled as flat here (conservative upside).