## Park Cost Breakdown
LIGHTHIEF EPC — CONFIRMED COST BREAKDOWN v5.0 ¦ May 2026 ¦ CIF: LY202601271 (Jan 2026) + LY202602111 (Feb 2026) ¦ EMS: Disperon v3 Scenario C ¦ Crane: €2,500/cnt ¦ SCADA: €15K flat
No | Park Name | Client Group | District | Signing Status | MW | MWh | BESS Cnts | MV Skids | Total Units | CIF (€) | CIF Quotation Source | €/kWh | Import Duty (2.66%) | Port Landing (ECTL) | Customs (Interfreight) | Crane+Transport (€2,500/cnt) | LV Cabling | MV Cabling | MV Terminations | Protection Engineering | RTU/Comms (DSO) | UPS & Auxiliary | LPS DEHN | SPD DEHN | Earthing Grid | Install Labour | Civil Works (€2K/MWh) | Insurance (0.75% CIF) | Docs & Compliance | PHYSICAL ADDERS TOTAL | EMS Hardware (Disperon v3) | SCADA Local (€15K flat) | SCADA Global (€60K/group) | EMS TOTAL | INSTALLED COST | CLIENT REVENUE | MARGIN € | MARGIN %
1 | Galascope 1 | Esperia/Galascope | Famagusta | confirmed | 5 | 20 | 4 | 1 | 5 | 1848712.43 | LY202601271 — Famagusta 2 match (5MW/20MWh) | 92.4356 | 49175.75 | 3000 | 85 | 12500 | 5600 | 3500 | 2200 | 6000 | 3000 | 2000 | 2335.16 | 1930.62 | 793.59 | 1600 | 65435 | 13865.34 | 7000 | 180020.46 | 22897 | 15000 | 60000 | 97897 | 2126629.89 | 2238000 | 111370.11 | 4.976%
2 | Galascope 2 | Esperia/Galascope | Famagusta | confirmed | 2.5 | 10 | 2 | 1 | 3 | 974457 | LY202601271 — Dianary 1 match (2.5MW/10MWh) | 97.4457 | 25920.56 | 1800 | 85 | 7500 | 2800 | 3500 | 2200 | 5000 | 3000 | 2000 | 1476.34 | 1532.06 | 793.59 | 1600 | 32985 | 7308.43 | 7000 | 106500.98 | 15141 | 15000 | 0 | 30141 | 1111098.98 | 1206300 | 95201.02 | 7.892%
3 | Esperia Famagusta | Esperia Energy | Famagusta | confirmed | 6.5 | 20 | 4 | 1 | 5 | 1951710.58 | LY202601271 — exact | 97.5855 | 51915.5 | 3000 | 85 | 12500 | 5600 | 3500 | 2200 | 6000 | 3000 | 2000 | 2335.16 | 1930.62 | 793.59 | 1600 | 40000 | 14637.83 | 7000 | 158097.7 | 22897 | 15000 | 60000 | 97897 | 2207705.28 | 2500334 | 292628.72 | 11.7%
4 | Esperia Famagusta 2 | Esperia Energy | Famagusta | confirmed | 5 | 20 | 4 | 1 | 5 | 1848712.43 | LY202601271 — exact | 92.4356 | 49175.75 | 3000 | 85 | 12500 | 5600 | 3500 | 2200 | 6000 | 3000 | 2000 | 2335.16 | 1930.62 | 793.59 | 1600 | 40000 | 13865.34 | 7000 | 154585.46 | 22897 | 15000 | 0 | 37897 | 2041194.89 | 2258900 | 217705.11 | 9.638%
5 | Esperia Frenaros | Esperia Energy | Famagusta | confirmed | 25 | 100 | 20 | 3 | 23 | 8782302 | LY202601271 — exact | 87.823 | 233609.23 | 13800 | 85 | 57500 | 28000 | 10500 | 6600 | 6000 | 3000 | 2000 | 10440.76 | 6789.88 | 793.59 | 1600 | 200000 | 65867.26 | 7000 | 653585.72 | 92329 | 15000 | 0 | 107329 | 9543216.72 | 11079435 | 1536218.28 | 13.87%
6 | Esperia Limassol | Esperia Energy | Limassol | confirmed | 8 | 60 | 12 | 2 | 14 | 4937363 | LY202601271 — exact | 82.2894 | 131333.86 | 8400 | 85 | 35000 | 16800 | 7000 | 4400 | 6000 | 3000 | 2000 | 6387.96 | 4360.25 | 793.59 | 1600 | 120000 | 37030.22 | 7000 | 391190.88 | 61305 | 15000 | 0 | 76305 | 5404858.88 | 6003120 | 598261.12 | 9.966%
7 | Esperia Tseri | Esperia Tseri | Nicosia | confirmed | 7 | 20 | 4 | 1 | 5 | 2001736 | LY202601271 — exact | 100.0868 | 53246.18 | 3000 | 85 | 12500 | 5600 | 3500 | 2200 | 6000 | 3000 | 2000 | 2335.16 | 1930.62 | 793.59 | 1600 | 40000 | 15013.02 | 7000 | 159803.57 | 22897 | 15000 | 60000 | 97897 | 2259436.57 | 2559071 | 299634.43 | 11.71%
8 | Esperia Tseri 2a | Esperia Tseri | Nicosia | confirmed | 2.5 | 7.5 | 2 | 1 | 3 | 871307 | LY202601271 — exact | 116.1743 | 23176.77 | 1800 | 85 | 7500 | 2800 | 3500 | 2200 | 5000 | 3000 | 2000 | 1476.34 | 1532.06 | 793.59 | 1600 | 15000 | 6534.8 | 7000 | 84998.56 | 15141 | 15000 | 0 | 30141 | 986446.56 | 1159991 | 173544.44 | 14.96%
9 | Esperia Tseri 2b | Esperia Tseri | Nicosia | confirmed | 7.5 | 25 | 5 | 2 | 7 | 2476649 | LY202601271 — exact | 99.066 | 65878.86 | 4200 | 85 | 17500 | 7000 | 7000 | 4400 | 6000 | 3000 | 2000 | 3382.09 | 2965.29 | 793.59 | 1600 | 50000 | 18574.87 | 7000 | 201379.7 | 26775 | 15000 | 0 | 41775 | 2719803.7 | 3169128 | 449324.3 | 14.18%
10 | Esperia Tseri 2c | Esperia Tseri | Nicosia | confirmed | 6 | 20 | 4 | 1 | 5 | 1907319 | LY202601271 — exact | 95.3659 | 50734.69 | 3000 | 85 | 12500 | 5600 | 3500 | 2200 | 6000 | 3000 | 2000 | 2335.16 | 1930.62 | 793.59 | 1600 | 40000 | 14304.89 | 7000 | 156583.95 | 22897 | 15000 | 0 | 37897 | 2101799.95 | 2444867 | 343067.05 | 14.03%
11 | Esperia Tseri 3 | Esperia Tseri | Nicosia | confirmed | 4.5 | 15 | 3 | 1 | 4 | 1562533 | LY202601271 — exact | 104.1689 | 41563.38 | 2400 | 85 | 10000 | 4200 | 3500 | 2200 | 6000 | 3000 | 2000 | 1905.75 | 1731.34 | 793.59 | 1600 | 30000 | 11719 | 7000 | 129698.06 | 19019 | 15000 | 0 | 34019 | 1726250.06 | 2008827 | 282576.94 | 14.07%
12 | L&T Sun Energy | Timotheos | Limassol | pending-50% | 5 | 15 | 3 | 1 | 4 | 1592098 | LY202601271 — exact | 106.1399 | 42349.81 | 2400 | 85 | 10000 | 4200 | 3500 | 2200 | 6000 | 3000 | 2000 | 1905.75 | 1731.34 | 793.59 | 1600 | 30000 | 11940.73 | 7000 | 130706.22 | 19019 | 15000 | 60000 | 94019 | 1816823.22 | 1961880 | 145056.78 | 7.394%
13 | L&T Solar Power | Timotheos | Limassol | pending-50% | 1.5 | 5 | 1 | 1 | 2 | 585976 | LY202601271 — exact | 117.1952 | 15586.96 | 1200 | 85 | 5000 | 1400 | 3500 | 2200 | 5000 | 3000 | 2000 | 1046.93 | 1332.78 | 793.59 | 1600 | 10000 | 4394.82 | 7000 | 65140.08 | 11263 | 15000 | 0 | 26263 | 677379.08 | 796807 | 119427.92 | 14.99%
14 | L&T Res Systems | Timotheos | TBC | pending-50% | 1 | 4 | 1 | 1 | 2 | 509419 | LY202601271 — exact | 127.3547 | 13550.55 | 1200 | 85 | 5000 | 1400 | 3500 | 2200 | 5000 | 3000 | 2000 | 1046.93 | 1332.78 | 793.59 | 1600 | 8000 | 3820.64 | 7000 | 60529.49 | 11263 | 15000 | 0 | 26263 | 596211.49 | 704706 | 108494.51 | 15.4%
15 | L&T Energia | Timotheos | Limassol | pending-50% | 1.5 | 5 | 1 | 1 | 2 | 585976 | LY202601271 — exact | 117.1952 | 15586.96 | 1200 | 85 | 5000 | 1400 | 3500 | 2200 | 5000 | 3000 | 2000 | 1046.93 | 1332.78 | 793.59 | 1600 | 10000 | 4394.82 | 7000 | 65140.08 | 11263 | 15000 | 0 | 26263 | 677379.08 | 796807 | 119427.92 | 14.99%
16 | L&T PV Tech | Timotheos | TBC | pending-50% | 1 | 4 | 1 | 1 | 2 | 509419 | LY202601271 — exact | 127.3547 | 13550.55 | 1200 | 85 | 5000 | 1400 | 3500 | 2200 | 5000 | 3000 | 2000 | 1046.93 | 1332.78 | 793.59 | 1600 | 8000 | 3820.64 | 7000 | 60529.49 | 11263 | 15000 | 0 | 26263 | 596211.49 | 704706 | 108494.51 | 15.4%
17 | AGM Sunfield 1 | Timotheos | Nicosia | pending-50% | 5 | 15 | 3 | 1 | 4 | 1592098 | LY202601271 — exact | 106.1399 | 42349.81 | 2400 | 85 | 10000 | 4200 | 3500 | 2200 | 6000 | 3000 | 2000 | 1905.75 | 1731.34 | 793.59 | 1600 | 30000 | 11940.73 | 7000 | 130706.22 | 19019 | 15000 | 0 | 34019 | 1756823.22 | 1961880 | 205056.78 | 10.45%
18 | AGM Sunfield 2 | Timotheos | TBC | pending-50% | 1.5 | 5 | 1 | 1 | 2 | 585976 | LY202601271 — exact | 117.1952 | 15586.96 | 1200 | 85 | 5000 | 1400 | 3500 | 2200 | 5000 | 3000 | 2000 | 1046.93 | 1332.78 | 793.59 | 1600 | 10000 | 4394.82 | 7000 | 65140.08 | 11263 | 15000 | 0 | 26263 | 677379.08 | 796807 | 119427.92 | 14.99%
19 | AGM Sunfield 3 | Timotheos | TBC | pending-50% | 1 | 4 | 1 | 1 | 2 | 509419 | LY202601271 — exact | 127.3547 | 13550.55 | 1200 | 85 | 5000 | 1400 | 3500 | 2200 | 5000 | 3000 | 2000 | 1046.93 | 1332.78 | 793.59 | 1600 | 8000 | 3820.64 | 7000 | 60529.49 | 11263 | 15000 | 0 | 26263 | 596211.49 | 704706 | 108494.51 | 15.4%
20 | AGM Lightpower | Timotheos | TBC | pending-50% | 8 | 24 | 5 | 2 | 7 | 2523652 | LY202601271 — exact | 105.1522 | 67129.14 | 4200 | 85 | 17500 | 7000 | 7000 | 4400 | 6000 | 3000 | 2000 | 3382.09 | 2965.29 | 793.59 | 1600 | 48000 | 18927.39 | 7000 | 200982.5 | 26775 | 15000 | 0 | 41775 | 2766409.5 | 3225985 | 459575.5 | 14.25%
21 | TBC 5MWh (Timotheos) | Timotheos | TBC | pending-50% | 1.5 | 5 | 1 | 1 | 2 | 585976 | LY202601271 — L&T Solar Power match (1.5MW/5MWh) | 117.1952 | 15586.96 | 1200 | 85 | 5000 | 1400 | 3500 | 2200 | 5000 | 3000 | 2000 | 1046.93 | 1332.78 | 793.59 | 1600 | 10000 | 4394.82 | 7000 | 65140.08 | 11263 | 15000 | 0 | 26263 | 677379.08 | 800000 | 122620.92 | 15.33%
22 | Solar Breeze | Lampros | Limassol | pending-50% | 1.51 | 5 | 1 | 1 | 2 | 585976 | LY202601271 — Classone Solar Breeze (1.5MW/5MWh) | 117.1952 | 15586.96 | 1200 | 85 | 5000 | 1400 | 3500 | 2200 | 5000 | 3000 | 2000 | 1046.93 | 1332.78 | 793.59 | 1600 | 10000 | 4394.82 | 7000 | 65140.08 | 11263 | 15000 | 60000 | 86263 | 737379.08 | 795443 | 58063.92 | 7.3%
23 | Solar Garden | Lampros | Limassol | pending-50% | 3.29 | 10 | 2 | 1 | 3 | 1007809 | LY202601271 — Classone Solar Garden (3.3MW/10MWh) | 100.7809 | 26807.72 | 1800 | 85 | 7500 | 2800 | 3500 | 2200 | 5000 | 3000 | 2000 | 1476.34 | 1532.06 | 793.59 | 1600 | 20000 | 7558.57 | 7000 | 94653.28 | 15141 | 15000 | 0 | 30141 | 1132603.28 | 1321976 | 189372.72 | 14.32%
24 | Paphos 1 | Kerasi | Paphos | unconfirmed | 2.5 | 7.5 | 2 | 1 | 3 | 871307 | LY202601271 — exact | 116.1743 | 23176.77 | 1800 | 85 | 7500 | 2800 | 3500 | 2200 | 5000 | 3000 | 2000 | 1476.34 | 1532.06 | 793.59 | 1600 | 15000 | 6534.8 | 7000 | 84998.56 | 15141 | 15000 | 60000 | 90141 | 1046446.56 | 1159302 | 112855.44 | 9.735%
25 | Paphos 2 | Kerasi | Paphos | unconfirmed | 2.5 | 7.5 | 2 | 1 | 3 | 871307 | LY202601271 — exact | 116.1743 | 23176.77 | 1800 | 85 | 7500 | 2800 | 3500 | 2200 | 5000 | 3000 | 2000 | 1476.34 | 1532.06 | 793.59 | 1600 | 15000 | 6534.8 | 7000 | 84998.56 | 15141 | 15000 | 0 | 30141 | 986446.56 | 1159302 | 172855.44 | 14.91%
26 | Paphos 3 | Kerasi | Paphos | unconfirmed | 1.5 | 5 | 1 | 1 | 2 | 541046 | LY202601271 — exact | 108.2092 | 14391.82 | 1200 | 85 | 5000 | 1400 | 3500 | 2200 | 5000 | 3000 | 2000 | 1046.93 | 1332.78 | 793.59 | 1600 | 10000 | 4057.84 | 7000 | 63607.96 | 11263 | 15000 | 0 | 26263 | 630916.96 | 742767 | 111850.04 | 15.06%
27 | My Sun Park | Karis | TBC | unconfirmed | 7.7 | 25 | 5 | 2 | 7 | 2523652 | LY202601271 — exact | 100.9461 | 67129.14 | 4200 | 85 | 17500 | 7000 | 7000 | 4400 | 6000 | 3000 | 2000 | 3382.09 | 2965.29 | 793.59 | 1600 | 50000 | 18927.39 | 7000 | 202982.5 | 26775 | 15000 | 60000 | 101775 | 2828409.5 | 3220675 | 392265.5 | 12.18%
28 | Anarita 1 | Spanercom | Paphos | high-85% | 5 | 20 | 4 | 1 | 5 | 1848712.43 | LY202601271 — Famagusta 2 match (5MW/20MWh) | 92.4356 | 49175.75 | 3000 | 85 | 12500 | 5600 | 3500 | 2200 | 6000 | 3000 | 2000 | 2335.16 | 1930.62 | 793.59 | 1600 | 40000 | 13865.34 | 7000 | 154585.46 | 22897 | 15000 | 60000 | 97897 | 2101194.89 | 2380000 | 278805.11 | 11.71%
29 | Anarita 2 | Spanercom | Paphos | high-85% | 5 | 20 | 4 | 1 | 5 | 1848712.43 | LY202601271 — Famagusta 2 match (5MW/20MWh) | 92.4356 | 49175.75 | 3000 | 85 | 12500 | 5600 | 3500 | 2200 | 6000 | 3000 | 2000 | 2335.16 | 1930.62 | 793.59 | 1600 | 40000 | 13865.34 | 7000 | 154585.46 | 22897 | 15000 | 0 | 37897 | 2041194.89 | 2380000 | 338805.11 | 14.24%
30 | Aeolian Dynamics | Aeolian (standalone) | Larnaca | high-80% | 6.5 | 20 | 4 | 2 | 6 | 1951710.58 | LY202601271 — Esperia Famagusta match (6.5MW/20MWh, T4+T1) | 97.5855 | 51915.5 | 3600 | 85 | 15000 | 5600 | 7000 | 4400 | 6000 | 3000 | 2000 | 2952.68 | 2766.01 | 793.59 | 1600 | 40000 | 14637.83 | 7000 | 168350.61 | 22897 | 15000 | 60000 | 97897 | 2217958.19 | 2660000 | 442041.81 | 16.62%

## Group Summary
Group | Status | Parks | MWh | Containers | CIF | Phys Adders | EMS (ScenC) | Installed Cost | Revenue | Margin € | Margin % | Annual EMS Sub (client pays) | EUBESS retains 80%/yr | 15yr Sub retained
Esperia/Galascope | confirmed | 2 | 30 | 8 | 2823169.43 | 286521.44 | 128038 | 3237728.87 | 3444300 | 206571.13 | 5.997% | 12000 | 9600 | 144000
Esperia Energy | confirmed | 4 | 200 | 47 | 17520088.01 | 1357459.76 | 319428 | 19196975.77 | 21841789 | 2644813.23 | 12.11% | 80000 | 64000 | 960000
Esperia Tseri | confirmed | 5 | 87.5 | 24 | 8819544 | 732463.84 | 241729 | 9793736.84 | 11341884 | 1548147.16 | 13.65% | 35000 | 28000 | 420000
Timotheos | pending-50% | 10 | 86 | 29 | 9580009 | 904543.73 | 353654 | 10838206.73 | 12454284 | 1616077.27 | 12.98% | 34400 | 27520 | 412800
Lampros | pending-50% | 2 | 15 | 5 | 1593785 | 159793.36 | 116404 | 1869982.36 | 2117419 | 247436.64 | 11.69% | 6000 | 4800 | 72000
Kerasi | unconfirmed | 3 | 20 | 8 | 2283660 | 233605.08 | 146545 | 2663810.08 | 3061371 | 397560.92 | 12.99% | 8000 | 6400 | 96000
Karis | unconfirmed | 1 | 25 | 7 | 2523652 | 202982.5 | 101775 | 2828409.5 | 3220675 | 392265.5 | 12.18% | 10000 | 8000 | 120000
Spanercom | high-85% | 2 | 40 | 10 | 3697424.86 | 309170.92 | 135794 | 4142389.78 | 4760000 | 617610.22 | 12.98% | 16000 | 12800 | 192000
Aeolian (standalone) | high-80% | 1 | 20 | 6 | 1951710.58 | 168350.61 | 97897 | 2217958.19 | 2660000 | 442041.81 | 16.62% | 8000 | 6400 | 96000
PORTFOLIO TOTAL |  | 30 | 523.5 | 144 | 50793042.88 | 4354891.24 | 1641264 | 56789198.12 | 64901722 | 8112523.88 | 12.5% | 209400 | 167520 | 2512800

## Adder Rates v5
Item | Rate / Formula | Supplier / Source | Status
LOGISTICS & IMPORT
Import Duty (weighted HS codes) | 2.66% × CIF | Interfreight / Cyprus Customs | CONFIRMED
Port Landing (ECTL THC + agent) | €600 / container | ECTL Limassol | QUOTED
Customs Clearance | €85 / park | Interfreight | QUOTED
Crane + Inland Transport | €2,500 / container ← UPDATED Mar 2026 | A. Soulis | CONFIRMED
ELECTRICAL
LV+MV+DC Cabling (Joha Cable) | Per-park lump sum — see v4 Excel column | Joha Cable | QUOTED
(fallback model if no park line) | €1,400 / BESS + €3,500 / MV skid | Internal — do not use for margin | ESTIMATE
MV Terminations | €2,200 / MV skid | TBC — confirm vs Joha quote | ESTIMATE
Protection Engineering | €5,000 (≤3 cnt) / €6,000 (≥4 cnt) per park | Internal estimate | ESTIMATE
RTU/Comms (DSO remote trip) ← RENAMED | €3,000 / park flat [physical hardware only, NOT SCADA] | Internal estimate | ESTIMATE
UPS & Auxiliary | €2,000 / park | Internal estimate | ESTIMATE
LIGHTNING & SURGE (DEHN)
LPS per BESS container | €429.41 | DEHN Quotation | QUOTED
LPS per MV skid | €617.52 | DEHN Quotation | QUOTED
SPD (DC) per BESS container | €199.28 | DEHN Quotation | QUOTED
SPD (LV) per MV skid | €336.47 | DEHN Quotation | QUOTED
SPD (MV) per MV skid | €498.92 | DEHN Quotation | QUOTED
SPD (Aux) per park | €163.74 | DEHN Quotation | QUOTED
SPD (Comms) per structure | €134.37 | DEHN Quotation | QUOTED
Site Earthing Grid per park | €793.59 | DEHN Quotation | QUOTED
Install Labour (StrikeRA) | €1,600 / park flat | StrikeRA | CONFIRMED
CIVIL WORKS
All civil (platforms, trenches, fencing) | €2,000 / MWh default; Galascope Kouklis €98,420 bases (16 Jun 2026); Galascope trenches client-paid | Kouklis / subcontractors | QUOTED-GALASCOPE
INSURANCE & COMPLIANCE
EPC CAR/EAR Insurance budget | 0.75% of CIF [NOTE: was labelled "Marine" in v4 — corrected] | Marsh (budget) | PENDING PLACEMENT
Docs & Statutory Compliance (EAC/CERA) | €7,000 / park | Internal estimate | ESTIMATE
EMS / SCADA — Disperon v3 SCENARIO C
EMS Hardware (System + Hardware only) | By (BESS, MV) config — see below | Voltus/Disperon | QUOTED (v3)
BESS=1, MV=1 (2 units) | €11,263 | Voltus v3 | QUOTED
BESS=2, MV=1 (3 units) | €15,141 | Voltus v3 | QUOTED
BESS=3, MV=1 (4 units) | €19,019 | Voltus v3 | QUOTED
BESS=4, MV=1 (5 units) | €22,897 | Voltus v3 | QUOTED
BESS=5, MV=2 (7 units) | €26,775 | Voltus v3 | QUOTED
BESS=6, MV=2 (8 units) | €30,653 | Voltus v3 | QUOTED
BESS=7, MV=2 (9 units) | €34,531 | Voltus v3 | QUOTED
BESS=12, MV=2 (14 units) | €61,305 | Voltus v3 | QUOTED
BESS=20, MV=3 (23 units) | €92,329 | Voltus v3 | QUOTED
SCADA Local (on-premise station) | €15,000 / park FLAT — all sizes ← CORRECTED v4 used tiered | Voltus v3 | QUOTED
SCADA Global (group platform) | €60,000 / group (first park only; remaining parks = €0) | Voltus v3 | QUOTED
ANNUAL RECURRING (post-commissioning)
EMS Subscription (client-facing) | €400 / MWh / year (SHA §6.7 confirmed) | Lighthief EUBESS SHA v5 | CONFIRMED
→ Voltus share (20%) | €80 / MWh / year | SHA §6.7 | CONFIRMED
→ EUBESS retains (80%) | €320 / MWh / year | SHA §6.7 | CONFIRMED
SCADA Local maintenance | €3,000 / park / year | Voltus v3 | QUOTED
SCADA Global maintenance | €12,000 / group / year | Voltus v3 | QUOTED
EXCLUDED / CLIENT-PAID
Protection Relay Testing (DSO) | €1,250 / container [per Dino confirmation] | Client-paid | CONFIRMED EXCLUDED
Electrical Drawings / As-Built | €5,000–€15,000 / site | Client-paid | CONFIRMED EXCLUDED
VAT (19%) | Charged on all invoices, VAT-registered client | Cyprus Revenue | EXCLUDED