## Confirmed Adder Rates
LIGHTHIEF — CONFIRMED EPC ADDER RATES
As of February 16, 2026 — All rates confirmed unless noted
# | Adder Item | Rate / Formula | Basis | Supplier / Source | Status
A. LOGISTICS & IMPORT
1 | Import Duty | 2.66% of CIF | Per CIF value | Cyprus Customs | ✅ CONFIRMED
2 | Port & Customs Clearance | €5,000 / park | Flat per park | Agent estimate | ✅ CONFIRMED
3 | Crane + Inland Transport | €2,360/container (8-cnt basis) | ~€7,080 for 3 cnt | A. Soulis / Interfreight | ⚠️ ESTIMATE
4 | Inland Transport (if separate) | Included in Row 3 | — | Interfreight | ✅ INCLUDED
B. ELECTRICAL
5 | LV Cabling (DC) | €3,500 / park | Flat per park | Internal estimate | ⚠️ ESTIMATE
6 | MV Cabling (AC) | €3,500 / park | Flat per park | Internal estimate | ⚠️ ESTIMATE
7 | MV Terminations | €2,200 / park | Flat per park | Internal estimate | ⚠️ ESTIMATE
8 | Protection Engineering | €5,000 / park | Flat per park | Internal estimate | ⚠️ ESTIMATE
9 | Remote Trip / SCADA Comms | €3,000 / park | Flat per park | Internal estimate | ⚠️ ESTIMATE
10 | UPS & Auxiliary Supply | €2,000 / park | Flat per park | Internal estimate | ⚠️ ESTIMATE
C. LIGHTNING & SURGE PROTECTION
11 | LPS (Lightning Protection) | 20HC: €429.41/cnt + 40HC: €617.52/MV | Per container/skid | DEHN Quotation | ✅ QUOTED
12 | SPD (Surge Protection) | DC €199.28/cnt + LV €336.47/MV + MV €498.92 + Aux €163.74 + Comms €134.37/struct | Per component | DEHN Quotation | ✅ QUOTED
13 | Site Earthing Grid | €793.59 / structure | Per BESS+MV structure | DEHN Quotation | ✅ QUOTED
14 | LPS/SPD Installation Labor | €1,600 / park | Flat per park | StrikeRA + local balanced | ✅ CONFIRMED
D. CIVIL WORKS
15 | Civil Works (all-in) | €2,000 / MWh | Per MWh capacity | Kamil (confirmed Feb 2026) | ✅ CONFIRMED
| Includes: | Platforms, trenches, cabling labour (excl cable), water trenches
16 | Drainage | Included in Civil Works | — | Kamil | ✅ INCLUDED
E. EMS & SCADA (VOLTUS)
17 | Voltus EMS (System+HW+Config+Install) | Per park — see Voltus quote | Per container config | Voltus (Feb 16, 2026) | ✅ QUOTED
18 | SCADA Local — Basic | €15,000 / park | <10 MWh parks | Voltus | ✅ QUOTED
19 | SCADA Local — Advanced | €30,000 / park | ≥10 MWh parks | Voltus | ✅ QUOTED
20 | SCADA Global | €60,000 per group / shared | Split across parks in group | Voltus | ✅ QUOTED
F. INSURANCE & COMPLIANCE
21 | Marine/Transit Insurance | 0.75% of CIF | Per CIF value | Verified with agent | ✅ CONFIRMED
22 | Docs & Statutory Compliance | €7,000 / park | EAC/CERA fees estimate | Client responsibility per Dino | ⚠️ ESTIMATE
23 | PCC Bay Extension | Where applicable | Per park | Varies | ⚠️ TBC
G. COMMISSIONING
24 | Commissioning | TBC — Linyang scope? | Per park | Pending scope clarity | ⚠️ TBC
H. EXCLUDED / CLIENT-PAID
— | External LPS (Col 30) | Customer-paid | Per Dino confirmation | — | EXCLUDED
— | Protection Testing / DSO | Customer-paid | Per Dino confirmation | — | EXCLUDED

## Park Cost Breakdown
LIGHTHIEF EPC — CONFIRMED COST BREAKDOWN (ALL PARKS)
Feb 16, 2026 — CIF + Adders + Voltus EMS/SCADA — Final Confirmed Pricing ¦ 6 Client Groups
No | Park Name | Client Group | Sub-Code | Time Period | District | MW | MWh | BESS | MV | CNT | CIF (€) | Import Duty | Port/Customs | Crane+Transport | LV Cable | MV Cable | MV Terms | Protect Eng | Remote Trip | UPS/Aux | LPS (DEHN) | SPD (DEHN) | Earthing | Install Labor | Civil Works | Insurance | Docs/Compl | PCC Bay | Physical Adders | Voltus EMS | SCADA Local | SCADA Global | Total EMS/SCADA | Installed Cost | Client Revenue | Price/MWh | Margin € | Margin % | Pricing Type
50 | Greendorado Agrivoltaic | ABIO Power | ABIO | TBC | Larnaca | 0.75 | 3 | 1 | 1 | 2 | 0 | 0 | 4000 | 4720 | 1400 | 3500 | 2200 | 5000 | 3000 | 2000 | 1046.93 | 1467.15 | 1587.18 | 1600 | 6000 | 0 | 0 | 0 | 37521.26 | 26304 | 15000 | 2400 | 43704 | 579298.145 | 628264.6379 | 209421.546 | 48966.4929 | 7.794% | 13%
8 | Greendorado Larnaca 1 | ABIO Power | GRD | Q3 2026 | Larnaca | 1.25 | 5 | 1 | 1 | 2 | 0 | 0 | 4000 | 4720 | 2800 | 3500 | 2200 | 5000 | 3000 | 2000 | 1046.93 | 1467.15 | 1587.18 | 1600 | 10000 | 0 | 0 | 0 | 42921.26 | 26304 | 15000 | 2400 | 43704 | 706953.3075 | 770397.0086 | 154079.4017 | 63443.7011 | 8.235% | 13%
9 | Greendorado Larnaca 2 | ABIO Power | GRD | Q2 2026 | Larnaca | 1 | 5 | 1 | 1 | 2 | 560994 | 0 | 4000 | 4720 | 1400 | 3500 | 2200 | 5000 | 3000 | 2000 | 1046.93 | 1467.15 | 1587.18 | 1600 | 10000 | 0 | 0 | 0 | 41521.26 | 26304 | 15000 | 2400 | 43704 | 702910.845 | 765750.5 | 153150.1 | 62839.655 | 8.206% | 13%
49 | Agios Sozomenos | ABIO Power | ABIO | TBC | Nicosia | 6 | 25 | 5 | 1 | 6 | 2476649 | 0 | 7000 | 14160 | 8400 | 3500 | 2200 | 6000 | 3000 | 2000 | 2764.57 | 2801.75 | 4761.54 | 1600 | 50000 | 0 | 0 | 0 | 108187.86 | 54583 | 30000 | 2400 | 86983 | 2832515.7075 | 3136512.8707 | 125460.5148 | 303997.1632 | 9.692% | 13%
22 | Dianary 1 | ABIO Power | DIA | Q2 2026 | Nicosia | 2.5 | 10 | 2 | 1 | 3 | 0 | 0 | 5000 | 7080 | 4900 | 3500 | 2200 | 5000 | 3000 | 2000 | 1476.34 | 1800.8 | 2380.77 | 1600 | 20000 | 0 | 0 | 0 | 59937.91 | 33374 | 30000 | 2400 | 65774 | 1179057.1575 | 1206300 | 120630 | 27242.8425 | 2.258% | LOCKED
28 | Dianary 2 | ABIO Power | DIA | Q3 2026 | Nicosia | 2.5 | 10 | 2 | 1 | 3 | 974457 | 0 | 5000 | 7080 | 3500 | 3500 | 2200 | 5000 | 3000 | 2000 | 1476.34 | 1800.8 | 2380.77 | 1600 | 20000 | 0 | 0 | 0 | 58537.91 | 33374 | 30000 | 2400 | 65774 | 1179057.1575 | 1206300 | 120630 | 27242.8425 | 2.258% | LOCKED
29 | Dianary 3 | ABIO Power | DIA | Q3 2026 | Nicosia | 8 | 35 | 7 | 2 | 9 | 3303521 | 0 | 11000 | 21240 | 11200 | 7000 | 4400 | 6000 | 3000 | 2000 | 4240.91 | 3939.89 | 7142.31 | 1600 | 70000 | 0 | 0 | 0 | 152763.11 | 68722 | 30000 | 2400 | 101122 | 3774777.0075 | 4198621.3764 | 119960.6108 | 423844.3689 | 10.09% | 13%
34 | ELESTORE 1 | ABIO Power | ELE | Q2 2026 | Nicosia | 12 | 40 | 8 | 2 | 10 | 3781992 | 0 | 12000 | 23600 | 16800 | 7000 | 4400 | 6000 | 3000 | 2000 | 4670.32 | 4273.54 | 7935.9 | 1600 | 80000 | 0 | 0 | 0 | 173279.76 | 75792 | 30000 | 2400 | 108192 | 4306469.12 | 4599600 | 114990 | 293130.88 | 6.373% | LOCKED
35 | ELESTORE 2 | ABIO Power | ELE | Q2 2026 | Nicosia | 12 | 40 | 8 | 2 | 10 | 3781992 | 0 | 12000 | 23600 | 16800 | 7000 | 4400 | 6000 | 3000 | 2000 | 4670.32 | 4273.54 | 7935.9 | 1600 | 80000 | 0 | 0 | 0 | 173279.76 | 75792 | 30000 | 2400 | 108192 | 4306469.12 | 4599600 | 114990 | 293130.88 | 6.373% | LOCKED
36 | ELESTORE 3 | ABIO Power | ELE | Q2 2026 | Nicosia | 12 | 40 | 8 | 2 | 10 | 3781992 | 0 | 12000 | 23600 | 16800 | 7000 | 4400 | 6000 | 3000 | 2000 | 4670.32 | 4273.54 | 7935.9 | 1600 | 80000 | 0 | 0 | 0 | 173279.76 | 75792 | 30000 | 2400 | 108192 | 4306469.12 | 4599600 | 114990 | 293130.88 | 6.373% | LOCKED
37 | ELESTORE 4 | ABIO Power | ELE | Q2 2026 | Nicosia | 12 | 40 | 8 | 2 | 10 | 3781992 | 0 | 12000 | 23600 | 16800 | 7000 | 4400 | 6000 | 3000 | 2000 | 4670.32 | 4273.54 | 7935.9 | 1600 | 80000 | 0 | 0 | 0 | 173279.76 | 75792 | 30000 | 2400 | 108192 | 4306469.12 | 4599600 | 114990 | 293130.88 | 6.373% | LOCKED
38 | ELESTORE 5 | ABIO Power | ELE | Q2 2026 | Nicosia | 12 | 40 | 8 | 2 | 10 | 3781992 | 0 | 12000 | 23600 | 16800 | 7000 | 4400 | 6000 | 3000 | 2000 | 4670.32 | 4273.54 | 7935.9 | 1600 | 80000 | 0 | 0 | 0 | 173279.76 | 75792 | 30000 | 2400 | 108192 | 4306469.12 | 4599600 | 114990 | 293130.88 | 6.373% | LOCKED
20 | Easy Power 1 | ABIO Power | EAS | Q2 2026 | Nicosia | 5 | 10 | 2 | 1 | 3 | 1104571 | 0 | 5000 | 7080 | 7000 | 3500 | 2200 | 5000 | 3000 | 2000 | 1476.34 | 1800.8 | 2380.77 | 1600 | 20000 | 0 | 0 | 0 | 62037.91 | 33374 | 30000 | 2400 | 65774 | 1317550.4325 | 1361050 | 136105 | 43499.5675 | 3.196% | LOCKED
21 | Easy Power 2 | ABIO Power | EAS | Q2 2026 | Nicosia | 4.5 | 10 | 2 | 1 | 3 | 0 | 0 | 5000 | 7080 | 4200 | 3500 | 2200 | 5000 | 3000 | 2000 | 1476.34 | 1800.8 | 2380.77 | 1600 | 20000 | 0 | 0 | 0 | 59237.91 | 33374 | 30000 | 2400 | 65774 | 1282186.52 | 1401540.1839 | 140154.0184 | 119353.6639 | 8.516% | 13%
25 | Easy Power 3 | ABIO Power | EAS | TBC | Nicosia | 5 | 10 | 3 | 2 | 5 | 0 | 0 | 7000 | 11800 | 7000 | 7000 | 4400 | 6000 | 3000 | 2000 | 2523.27 | 2605.29 | 3967.95 | 1600 | 20000 | 0 | 0 | 0 | 78896.51 | 40444 | 30000 | 2400 | 72844 | 1359454.5825 | 1361050 | 136105 | 1595.4175 | 0.1172% | LOCKED
26 | Easy Power 4 | ABIO Power | EAS | TBC | Nicosia | 1.8 | 8 | 2 | 1 | 3 | 0 | 0 | 5000 | 7080 | 3500 | 3500 | 2200 | 5000 | 3000 | 2000 | 1476.34 | 1800.8 | 2380.77 | 1600 | 16000 | 0 | 0 | 0 | 54537.91 | 33374 | 15000 | 2400 | 50774 | 1032991.8575 | 1136948.6178 | 142118.5772 | 103956.7603 | 9.143% | 13%
24 | Greendorado 1 | ABIO Power | GRD | Q2 2026 | Nicosia | 1.8 | 8 | 2 | 1 | 3 | 0 | 0 | 5000 | 7080 | 4200 | 3500 | 2200 | 5000 | 3000 | 2000 | 1476.34 | 1800.8 | 2380.77 | 1600 | 16000 | 0 | 0 | 0 | 55237.91 | 33374 | 15000 | 2400 | 50774 | 1032991.8575 | 1136948.6178 | 142118.5772 | 103956.7603 | 9.143% | 13%
30 | Polemi | ABIO Power | POL | TBC | Nicosia | 1.25 | 10 | 3 | 1 | 4 | 0 | 0 | 7000 | 11800 | 5600 | 7000 | 4400 | 6000 | 3000 | 2000 | 1905.75 | 2134.45 | 3174.36 | 1600 | 20000 | 0 | 0 | 0 | 75614.56 | 40444 | 30000 | 2400 | 72844 | 1046719.295 | 1129579.408 | 112957.9408 | 82860.113 | 7.335% | 13%
31 | Potamia p151 | ABIO Power | POT | TBC | Nicosia | 1.25 | 10 | 3 | 1 | 4 | 0 | 0 | 7000 | 11800 | 5600 | 7000 | 4400 | 6000 | 3000 | 2000 | 1905.75 | 2134.45 | 3174.36 | 1600 | 20000 | 0 | 0 | 0 | 75614.56 | 40444 | 30000 | 2400 | 72844 | 1046719.295 | 1129579.408 | 112957.9408 | 82860.113 | 7.335% | 13%
32 | Potamia p208 | ABIO Power | POT | TBC | Nicosia | 4.5 | 20 | 6 | 2 | 8 | 0 | 0 | 9000 | 16520 | 9800 | 3500 | 2200 | 5000 | 3000 | 2000 | 3811.5 | 3606.24 | 6348.72 | 1600 | 40000 | 0 | 0 | 0 | 106386.46 | 61652 | 30000 | 2400 | 94052 | 2175170.3075 | 2395784.5374 | 119789.2269 | 220614.2299 | 9.208% | 13%
27 | Renergetic | ABIO Power | REN | TBC | Nicosia | 5 | 10 | 2 | 1 | 3 | 1104571 | 0 | 5000 | 7080 | 7000 | 3500 | 2200 | 5000 | 3000 | 2000 | 1476.34 | 1800.8 | 2380.77 | 1600 | 20000 | 0 | 0 | 0 | 62037.91 | 33374 | 30000 | 2400 | 65774 | 1317550.4325 | 1361050 | 136105 | 43499.5675 | 3.196% | LOCKED
51 | Renergetic 2 | ABIO Power | ABIO | TBC | Nicosia | 2.4 | 10 | 2 | 1 | 3 | 0 | 0 | 5000 | 7080 | 3500 | 3500 | 2200 | 5000 | 3000 | 2000 | 1476.34 | 1800.8 | 2380.77 | 1600 | 20000 | 0 | 0 | 0 | 58537.91 | 33374 | 30000 | 2400 | 65774 | 1146852.1825 | 1245983.4741 | 124598.3474 | 99131.2916 | 7.956% | 13%
33 | Solarity | ABIO Power | SOL | Q4 2026 | Nicosia | 5 | 10 | 2 | 1 | 3 | 1104571 | 0 | 5000 | 7080 | 7000 | 3500 | 2200 | 5000 | 3000 | 2000 | 1476.34 | 1800.8 | 2380.77 | 1600 | 20000 | 0 | 0 | 0 | 62037.91 | 33374 | 30000 | 2400 | 65774 | 1317550.4325 | 1361050 | 136105 | 43499.5675 | 3.196% | LOCKED
48 | Solartech 3 Extension | ABIO Power | ABIO | TBC | Nicosia | 2.5 | 10 | 2 | 1 | 3 | 974457 | 0 | 5000 | 7080 | 3500 | 3500 | 2200 | 5000 | 3000 | 2000 | 1476.34 | 1800.8 | 2380.77 | 1600 | 20000 | 0 | 0 | 0 | 58537.91 | 33374 | 30000 | 2400 | 65774 | 1179057.1575 | 1206300 | 120630 | 27242.8425 | 2.258% | LOCKED
23 | Waneron | ABIO Power | WAN | TBC | Nicosia | 3 | 11.28 | 2 | 1 | 3 | 0 | 0 | 7000 | 11800 | 4200 | 7000 | 4400 | 6000 | 3000 | 2000 | 1476.34 | 1800.8 | 2380.77 | 1600 | 22560 | 0 | 0 | 0 | 75217.91 | 33374 | 30000 | 2400 | 65774 | 1346899.9325 | 1472980.8879 | 130583.4121 | 126080.9554 | 8.56% | 13%
3 | Esperia Famagusta | Esperia Energy Group | ESP | Q2 2026 | Famagusta | 6.5 | 20 | 4 | 1 | 5 | 1951710.58 | 0 | 7000 | 11800 | 9100 | 3500 | 2200 | 5000 | 3000 | 2000 | 2335.16 | 2468.1 | 3967.95 | 1600 | 40000 | 0 | 0 | 0 | 93971.21 | 47513 | 30000 | 5455 | 82968 | 2263468.6467 | 2500334.2376 | 125016.7119 | 236865.5909 | 9.473% | 13%
5 | Esperia Famagusta 2 | Esperia Energy Group | ESP | Q3 2027 | Famagusta | 5 | 20 | 4 | 1 | 5 | 1848712.43 | 0 | 7000 | 11800 | 7000 | 3500 | 2200 | 5000 | 3000 | 2000 | 2335.16 | 2468.1 | 3967.95 | 1600 | 40000 | 0 | 0 | 0 | 91871.21 | 47513 | 30000 | 5455 | 82968 | 2153508.0661 | 2258900 | 112945 | 105391.9339 | 4.666% | LOCKED
4 | Esperia Frenaros | Esperia Energy Group | ESP | Q4 2026 | Famagusta | 25 | 100 | 20 | 3 | 23 | 8782302 | 0 | 24000 | 51920 | 35000 | 7000 | 4400 | 6000 | 3000 | 2000 | 10440.76 | 8748.18 | 18252.57 | 1600 | 200000 | 0 | 0 | 0 | 372361.51 | 167132 | 30000 | 5455 | 202587 | 9906127.845 | 11079434.9253 | 110794.3493 | 1173307.0803 | 10.59% | 13%
1 | Galascope 1 | Esperia Energy Group | GAL | Q2 2026 | Famagusta | 5 | 15 | 3 | 2 | 5 | 1592018 | 0 | 7000 | 11800 | 7000 | 7000 | 4400 | 6000 | 3000 | 2000 | 2523.27 | 2605.29 | 3967.95 | 1600 | 30000 | 0 | 0 | 0 | 88896.51 | 40444 | 30000 | 5455 | 75899 | 1879735.845 | 2068111.5345 | 137874.1023 | 188375.6895 | 9.109% | 13%
2 | Galascope 2 | Esperia Energy Group | GAL | Q2 2026 | Famagusta | 2.5 | 8 | 2 | 1 | 3 | 871307.6 | 0 | 5000 | 7080 | 3500 | 3500 | 2200 | 5000 | 3000 | 2000 | 1476.34 | 1800.8 | 2380.77 | 1600 | 16000 | 0 | 0 | 0 | 54537.91 | 33374 | 15000 | 5455 | 53829 | 1056994.655 | 1161026.546 | 145128.3182 | 104031.891 | 8.96% | 13%
10 | Esperia Limassol | Esperia Energy Group | ESP | Q4 2026 | Limassol | 8 | 60 | 12 | 2 | 14 | 4937363 | 0 | 16000 | 33040 | 11200 | 7000 | 4400 | 6000 | 3000 | 2000 | 6387.96 | 5608.14 | 11110.26 | 1600 | 120000 | 0 | 0 | 0 | 227346.36 | 107323 | 30000 | 5455 | 142778 | 5616186.3325 | 6003120 | 100052 | 386933.6675 | 6.446% | LOCKED
15 | Esperia Tseri | Esperia Energy Group | ESP-2028 | 2028 | Nicosia | 7 | 20 | 4 | 1 | 5 | 2001736 | 0 | 7000 | 11800 | 9800 | 3500 | 2200 | 5000 | 3000 | 2000 | 2335.16 | 2468.1 | 3967.95 | 1600 | 40000 | 0 | 0 | 0 | 94671.21 | 47513 | 30000 | 5455 | 82968 | 2314570.02 | 2559071.4483 | 127953.5724 | 244501.4283 | 9.554% | 13%
16 | Esperia Tseri 2a | Esperia Energy Group | ESP-2028 | 2028 | Nicosia | 2.5 | 7.5 | 2 | 1 | 3 | 871307 | 0 | 5000 | 7080 | 3500 | 3500 | 2200 | 5000 | 3000 | 2000 | 1476.34 | 1800.8 | 2380.77 | 1600 | 15000 | 0 | 0 | 0 | 53537.91 | 33374 | 15000 | 5455 | 53829 | 1055094.0325 | 1159991.3477 | 154665.513 | 104897.3152 | 9.043% | 13%
17 | Esperia Tseri 2b | Esperia Energy Group | ESP-2028 | 2028 | Nicosia | 7.5 | 25 | 5 | 2 | 7 | 2476649 | 0 | 9000 | 16520 | 10500 | 7000 | 4400 | 6000 | 3000 | 2000 | 3382.09 | 3272.59 | 5555.13 | 1600 | 50000 | 0 | 0 | 0 | 122229.81 | 54583 | 30000 | 5455 | 90038 | 2859896.4075 | 3169127.9282 | 126765.1171 | 309231.5207 | 9.758% | 13%
18 | Esperia Tseri 2c | Esperia Energy Group | ESP-2028 | 2028 | Nicosia | 6 | 20 | 4 | 1 | 5 | 1907319 | 0 | 7000 | 11800 | 8400 | 3500 | 2200 | 5000 | 3000 | 2000 | 2335.16 | 2468.1 | 3967.95 | 1600 | 40000 | 0 | 0 | 0 | 93271.21 | 47513 | 30000 | 5455 | 82968 | 2215212.3825 | 2444867.2672 | 122243.3634 | 229654.8847 | 9.393% | 13%
19 | Esperia Tseri 3 | Esperia Energy Group | ESP-2028 | 2028 | Nicosia | 4.5 | 15 | 3 | 1 | 4 | 1562533 | 0 | 7000 | 11800 | 6300 | 7000 | 4400 | 6000 | 3000 | 2000 | 1905.75 | 2134.45 | 3174.36 | 1600 | 30000 | 0 | 0 | 0 | 86314.56 | 40444 | 30000 | 5455 | 75899 | 1824719.4575 | 2008826.7213 | 133921.7814 | 184107.2638 | 9.165% | 13%
11 | Classone Solar Breeze | Lampros Andreadis | CLS | TBC | Limassol | 1.51 | 5 | 1 | 1 | 2 | 585976 | 0 | 4000 | 4720 | 2114 | 3500 | 2200 | 5000 | 3000 | 2000 | 1046.93 | 1467.15 | 1587.18 | 1600 | 10000 | 0 | 0 | 0 | 42235.26 | 26304 | 15000 | 60000 | 101304 | 786343.67 | 795443.4023 | 159088.6805 | 9099.7323 | 1.144% | 13%
12 | Classone Solar Garden | Lampros Andreadis | CLS | TBC | Limassol | 3.29 | 10 | 2 | 1 | 3 | 1007809 | 0 | 5000 | 7080 | 4606 | 3500 | 2200 | 5000 | 3000 | 2000 | 1476.34 | 1800.8 | 2380.77 | 1600 | 20000 | 0 | 0 | 0 | 59643.91 | 33374 | 30000 | 0 | 63374 | 1210565.8575 | 1321976.204 | 132197.6204 | 111410.3465 | 8.428% | 13%
45 | Paphos 1 | A Kerasi | PAP | TBC | Paphos | 2.5 | 7.5 | 2 | 1 | 3 | 871307 | 0 | 5000 | 7080 | 3500 | 3500 | 2200 | 5000 | 3000 | 2000 | 1476.34 | 1800.8 | 2380.77 | 1600 | 15000 | 0 | 0 | 0 | 53537.91 | 33374 | 15000 | 60000 | 108374 | 1109039.0325 | 1159301.6925 | 154573.559 | 50262.66 | 4.336% | 13%
46 | Paphos 2 | A Kerasi | PAP | TBC | Paphos | 2.5 | 7.5 | 2 | 1 | 3 | 871307 | 0 | 5000 | 7080 | 3500 | 3500 | 2200 | 5000 | 3000 | 2000 | 1476.34 | 1800.8 | 2380.77 | 1600 | 15000 | 0 | 0 | 0 | 53537.91 | 33374 | 15000 | 60000 | 108374 | 1109039.0325 | 1159301.6925 | 154573.559 | 50262.66 | 4.336% | 13%
47 | Paphos 3 | A Kerasi | PAP | TBC | Paphos | 1.5 | 5 | 1 | 1 | 2 | 541046 | 0 | 4000 | 4720 | 2100 | 3500 | 2200 | 5000 | 3000 | 2000 | 1046.93 | 1467.15 | 1587.18 | 1600 | 10000 | 0 | 0 | 0 | 42221.26 | 26304 | 15000 | 60000 | 101304 | 740514.795 | 742766.5345 | 148553.3069 | 2251.7395 | 0.3032% | 13%
13 | My Sun Park | Ioannis Karis | MSP | TBC | Limassol | 7.7 | 25 | 5 | 2 | 7 | 2523652 | 0 | 9000 | 16520 | 10780 | 7000 | 4400 | 6000 | 3000 | 2000 | 3382.09 | 3272.59 | 5555.13 | 1600 | 50000 | 0 | 0 | 0 | 122509.81 | 54583 | 30000 | 0 | 84583 | 2899287.02 | 3220674.6092 | 128826.9844 | 321387.5892 | 9.979% | 13%
7 | L&T Res Systems | Timotheos Timotheou | LT | TBC | Famagusta | 1 | 4 | 1 | 1 | 2 | 509419 | 0 | 4000 | 4720 | 1400 | 3500 | 2200 | 5000 | 3000 | 2000 | 1046.93 | 1467.15 | 1587.18 | 1600 | 8000 | 0 | 0 | 0 | 39521.26 | 26304 | 15000 | 6667 | 47971 | 652668.7825 | 705395.2557 | 176348.8139 | 52726.4732 | 7.475% | 13%
6 | L&T Solar Power | Timotheos Timotheou | LT | TBC | Famagusta | 1.5 | 5 | 1 | 1 | 2 | 585976 | 0 | 4000 | 4720 | 2100 | 3500 | 2200 | 5000 | 3000 | 2000 | 1046.93 | 1467.15 | 1587.18 | 1600 | 10000 | 0 | 0 | 0 | 42221.26 | 26304 | 15000 | 6667 | 47971 | 734796.67 | 797496.2759 | 159499.2552 | 62699.6059 | 7.862% | 13%
14 | L&T Sun Energy | Timotheos Timotheou | LT | TBC | Limassol | 5 | 15 | 3 | 1 | 4 | 1592098 | 0 | 7000 | 11800 | 7000 | 7000 | 4400 | 6000 | 3000 | 2000 | 1905.75 | 2134.45 | 3174.36 | 1600 | 30000 | 0 | 0 | 0 | 87014.56 | 40444 | 30000 | 6667 | 77111 | 1854905.145 | 2042129.8103 | 136141.9874 | 187224.6653 | 9.168% | 13%
44 | AGM Lightpower | Timotheos Timotheou | AGM | TBC | Nicosia | 8 | 24 | 5 | 2 | 7 | 2523652 | 0 | 9000 | 16520 | 11200 | 7000 | 4400 | 6000 | 3000 | 2000 | 3382.09 | 3272.59 | 5555.13 | 1600 | 48000 | 0 | 0 | 0 | 120929.81 | 54583 | 30000 | 6667 | 91250 | 2908574.02 | 3225984.954 | 134416.0398 | 317410.934 | 9.839% | 13%
39 | AGM Sunfield 1 | Timotheos Timotheou | AGM | TBC | Nicosia | 5 | 15 | 3 | 1 | 4 | 1592098 | 0 | 7000 | 11800 | 7000 | 7000 | 4400 | 6000 | 3000 | 2000 | 1905.75 | 2134.45 | 3174.36 | 1600 | 30000 | 0 | 0 | 0 | 87014.56 | 40444 | 30000 | 6667 | 77111 | 1857305.145 | 2044888.431 | 136325.8954 | 187583.286 | 9.173% | 13%
40 | AGM Sunfield 2 | Timotheos Timotheou | AGM | TBC | Nicosia | 1.5 | 5 | 1 | 1 | 2 | 585976 | 0 | 4000 | 4720 | 2100 | 3500 | 2200 | 5000 | 3000 | 2000 | 1046.93 | 1467.15 | 1587.18 | 1600 | 10000 | 0 | 0 | 0 | 42221.26 | 26304 | 15000 | 6667 | 47971 | 734196.67 | 796806.6207 | 159361.3241 | 62609.9507 | 7.858% | 13%
41 | AGM Sunfield 3 | Timotheos Timotheou | AGM | TBC | Nicosia | 1 | 4 | 1 | 1 | 2 | 509419 | 0 | 4000 | 4720 | 1400 | 3500 | 2200 | 5000 | 3000 | 2000 | 1046.93 | 1467.15 | 1587.18 | 1600 | 8000 | 0 | 0 | 0 | 39521.26 | 26304 | 15000 | 6667 | 47971 | 652068.7825 | 704705.6006 | 176176.4001 | 52636.8181 | 7.469% | 13%
42 | L&T Energia | Timotheos Timotheou | LT | TBC | Nicosia | 1.5 | 5 | 1 | 1 | 2 | 585976 | 0 | 4000 | 4720 | 2100 | 3500 | 2200 | 5000 | 3000 | 2000 | 1046.93 | 1467.15 | 1587.18 | 1600 | 10000 | 0 | 0 | 0 | 42221.26 | 26304 | 15000 | 6667 | 47971 | 734196.67 | 796806.6207 | 159361.3241 | 62609.9507 | 7.858% | 13%
43 | L&T PV Tech | Timotheos Timotheou | LT | TBC | Nicosia | 1 | 4 | 1 | 1 | 2 | 509419 | 0 | 4000 | 4720 | 1400 | 3500 | 2200 | 5000 | 3000 | 2000 | 1046.93 | 1467.15 | 1587.18 | 1600 | 8000 | 0 | 0 | 0 | 39521.26 | 26304 | 15000 | 6667 | 47971 | 652068.7825 | 704705.6006 | 176176.4001 | 52636.8181 | 7.469% | 13%
| PORTFOLIO TOTAL | [5 empty] | 881.78 |  |  |  | 74711838.61 | 0 | 357000 | 604160 | 363300 | 245000 | 154000 | 275000 | 153000 | 102000 | 120197.17 | 126596.35 | 199191.09 | 81600 | 1763560 | 0 | 0 | 0 | 4544604.61 | 2298609 | 1275000 | 420008 | 3993617 | 100869692.9779 | 109241186.7894 | 123887.1224 | 8371493.8115 | 7.663%

## Group Summary
PORTFOLIO SUMMARY — 6 CLIENT GROUPS
Client Group | Parks | Total MW | Total MWh | Total CIF | Total Adders | Total EMS/SCADA | Total Installed | Total Revenue | Total Margin | Margin %
ABIO Power | 25 | 125 | 430.28 | 30513751 | 2251722.65 | 1866275 | 49088609.2125 | 52609991.5287 | 3521382.3162 | 6.693%
Esperia Energy Group | 11 | 79.5 | 310.5 | 28802957.61 | 1379009.41 | 1026731 | 33145513.6904 | 36412811.956 | 3267298.2657 | 8.973%
Timotheos Timotheou | 9 | 25.5 | 81 | 8994033 | 540186.49 | 533298 | 10780780.6675 | 11818919.1695 | 1038138.502 | 8.784%
A Kerasi | 3 | 6.5 | 20 | 2283660 | 149297.08 | 318052 | 2958592.86 | 3061369.9195 | 102777.0595 | 3.357%
Lampros Andreadis | 2 | 4.8 | 15 | 1593785 | 101879.17 | 164678 | 1996909.5275 | 2117419.6063 | 120510.0788 | 5.691%
Ioannis Karis | 1 | 7.7 | 25 | 2523652 | 122509.81 | 84583 | 2899287.02 | 3220674.6092 | 321387.5892 | 9.979%
PORTFOLIO TOTAL | 51 | 249 | 881.78 | 74711838.61 | 4544604.61 | 3993617 | 100869692.9779 | 109241186.7894 | 8371493.8115 | 7.663%

## Timeline View
DELIVERY TIMELINE — ALL PARKS BY PERIOD
Time Period | Parks | Total MWh | Total MW | Total CIF (€) | Total Installed (€) | Total Revenue (€) | Margin (€) | Margin %
Q2 2026 | 13 | 286 | 88.8 | 24990561.18 | 32247241.5593 | 34599061.6198 | 2351820.0606 | 6.797%
Q3 2026 | 3 | 50 | 11.75 | 4277978 | 5660787.4725 | 6175318.3851 | 514530.9126 | 8.332%
Q4 2026 | 3 | 170 | 38 | 14824236 | 16839864.61 | 18443604.9253 | 1603740.3153 | 8.695%
Q3 2027 | 1 | 20 | 5 | 1848712.43 | 2153508.0661 | 2258900 | 105391.9339 | 4.666%
2028 | 5 | 87.5 | 27.5 | 8819544 | 10269492.3 | 11341884.7126 | 1072392.4126 | 9.455%
TBC | 26 | 268.28 | 77.95 | 19950807 | 33698798.97 | 36422417.1466 | 2723618.1766 | 7.478%
TOTAL | 51 | 881.78 | 249 | 74711838.61 | 100869692.9779 | 109241186.7894 | 8371493.8115 | 7.663%
PARKS BY PERIOD
Q2 2026 | 13 parks, 286 MWh
| Greendorado Larnaca 2 | 1.0 MW | 5.0 MWh | ABIO Power
| Dianary 1 | 2.5 MW | 10.0 MWh | ABIO Power
| ELESTORE 1 | 12.0 MW | 40.0 MWh | ABIO Power
| ELESTORE 2 | 12.0 MW | 40.0 MWh | ABIO Power
| ELESTORE 3 | 12.0 MW | 40.0 MWh | ABIO Power
| ELESTORE 4 | 12.0 MW | 40.0 MWh | ABIO Power
| ELESTORE 5 | 12.0 MW | 40.0 MWh | ABIO Power
| Easy Power 1 | 5.0 MW | 10.0 MWh | ABIO Power
| Easy Power 2 | 4.5 MW | 10.0 MWh | ABIO Power
| Greendorado 1 | 1.8 MW | 8.0 MWh | ABIO Power
| Esperia Famagusta | 6.5 MW | 20.0 MWh | Esperia Energy Group
| Galascope 1 | 5.0 MW | 15.0 MWh | Esperia Energy Group
| Galascope 2 | 2.5 MW | 8.0 MWh | Esperia Energy Group
Q3 2026 | 3 parks, 50 MWh
| Greendorado Larnaca 1 | 1.25 MW | 5.0 MWh | ABIO Power
| Dianary 2 | 2.5 MW | 10.0 MWh | ABIO Power
| Dianary 3 | 8.0 MW | 35.0 MWh | ABIO Power
Q4 2026 | 3 parks, 170 MWh
| Solarity | 5.0 MW | 10.0 MWh | ABIO Power
| Esperia Frenaros | 25.0 MW | 100.0 MWh | Esperia Energy Group
| Esperia Limassol | 8.0 MW | 60.0 MWh | Esperia Energy Group
Q3 2027 | 1 parks, 20 MWh
| Esperia Famagusta 2 | 5.0 MW | 20.0 MWh | Esperia Energy Group
2028 | 5 parks, 88 MWh
| Esperia Tseri | 7.0 MW | 20.0 MWh | Esperia Energy Group
| Esperia Tseri 2a | 2.5 MW | 7.5 MWh | Esperia Energy Group
| Esperia Tseri 2b | 7.5 MW | 25.0 MWh | Esperia Energy Group
| Esperia Tseri 2c | 6.0 MW | 20.0 MWh | Esperia Energy Group
| Esperia Tseri 3 | 4.5 MW | 15.0 MWh | Esperia Energy Group
TBC | 26 parks, 268 MWh
| Greendorado Agrivoltaic | 0.75 MW | 3.0 MWh | ABIO Power
| Agios Sozomenos | 6.0 MW | 25.0 MWh | ABIO Power
| Easy Power 3 | 5.0 MW | 10.0 MWh | ABIO Power
| Easy Power 4 | 1.8 MW | 8.0 MWh | ABIO Power
| Polemi | 1.25 MW | 10.0 MWh | ABIO Power
| Potamia p151 | 1.25 MW | 10.0 MWh | ABIO Power
| Potamia p208 | 4.5 MW | 20.0 MWh | ABIO Power
| Renergetic | 5.0 MW | 10.0 MWh | ABIO Power
| Renergetic 2 | 2.4 MW | 10.0 MWh | ABIO Power
| Solartech 3 Extension | 2.5 MW | 10.0 MWh | ABIO Power
| Waneron | 3.0 MW | 11.28 MWh | ABIO Power
| Classone Solar Breeze | 1.51 MW | 5.0 MWh | Lampros Andreadis
| Classone Solar Garden | 3.29 MW | 10.0 MWh | Lampros Andreadis
| Paphos 1 | 2.5 MW | 7.5 MWh | A Kerasi
| Paphos 2 | 2.5 MW | 7.5 MWh | A Kerasi
| Paphos 3 | 1.5 MW | 5.0 MWh | A Kerasi
| My Sun Park | 7.7 MW | 25.0 MWh | Ioannis Karis
| L&T Res Systems | 1.0 MW | 4.0 MWh | Timotheos Timotheou
| L&T Solar Power | 1.5 MW | 5.0 MWh | Timotheos Timotheou
| L&T Sun Energy | 5.0 MW | 15.0 MWh | Timotheos Timotheou
| AGM Lightpower | 8.0 MW | 24.0 MWh | Timotheos Timotheou
| AGM Sunfield 1 | 5.0 MW | 15.0 MWh | Timotheos Timotheou
| AGM Sunfield 2 | 1.5 MW | 5.0 MWh | Timotheos Timotheou
| AGM Sunfield 3 | 1.0 MW | 4.0 MWh | Timotheos Timotheou
| L&T Energia | 1.5 MW | 5.0 MWh | Timotheos Timotheou
| L&T PV Tech | 1.0 MW | 4.0 MWh | Timotheos Timotheou

## Cost Stack
EPC ADDER COST STACK — PORTFOLIO TOTALS
Category | Item | Portfolio Total (€) | % of Full EPC
CIF | Linyang CIF Hardware | 74711838.61 | 74.07%
Logistics | Import Duty (2.66%) | 0 | 0%
Logistics | Port & Customs | 357000 | 0.3539%
Logistics | Crane + Transport | 604160 | 0.599%
Electrical | LV Cabling | 363300 | 0.3602%
Electrical | MV Cabling | 245000 | 0.2429%
Electrical | MV Terminations | 154000 | 0.1527%
Electrical | Protection Engineering | 275000 | 0.2726%
Electrical | Remote Trip | 153000 | 0.1517%
Electrical | UPS & Auxiliary | 102000 | 0.1011%
DEHN | LPS Lightning Protection | 120197.17 | 0.1192%
DEHN | SPD Surge Protection | 126596.35 | 0.1255%
DEHN | Site Earthing Grid | 199191.09 | 0.1975%
DEHN | Installation Labor (StrikeRA) | 81600 | 0.0809%
Civil | Civil Works (Kamil) | 1763560 | 1.748%
Insurance | Marine/Transit Insurance | 0 | 0%
Compliance | Docs & Compliance | 0 | 0%
Grid | PCC Bay Extension | 0 | 0%
EMS/SCADA | Voltus EMS (System+HW+Config) | 2298609 | 2.279%
EMS/SCADA | SCADA Local | 1275000 | 1.264%
EMS/SCADA | SCADA Global (shared) | 420008 | 0.4164%
| TOTAL PHYSICAL ADDERS | 4544604.61
| TOTAL EMS/SCADA | 3993617
| TOTAL CIF | 74711838.61
| FULL EPC (INSTALLED) | 100869692.9779
| CLIENT REVENUE | 109241186.7894
| NET MARGIN | 8371493.8115 | 7.663%