## Price
| Cyprus BESS Portfolio - Project List | [6 empty] | EMS hardware on site instlation |  |  |  |  | SCADA
Group | Park Name | MW | MWh | CNT | MV Skid | BESS | Year | System + Hardware | Remote Configuration & Preparation | On-site installation + Training | On-site installation days | Total Cost | SCADA local (System, Configuration, Hardware IPC) | SCADA local Maintenance and subscription | SCADA GRUPE (System + Configuration) without Hardware | SCADA GRUPE Maintenance and subscription
[13 empty] | 15000 | 3000
GRD-AV | Greendorado Agrivoltaic | 0.75 | 3 | 2 | 1 | 1 |  | 12380 | 9912 | 4012 | 4 | 26304 | 15000 | 3000 | 60000 | 12000
GRD-L1 | Greendorado Larnaca 1 | 1.25 | 5 | 2 | 1 | 1 | Q3 2026 | 12380 | 9912 | 4012 | 4 | 26304 | 15000 | 3000
GRD-L2 | Greendorado Larnaca 2 | 1 | 5 | 2 | 1 | 1 | 2025 | 12380 | 9912 | 4012 | 4 | 26304 | 15000 | 3000
GRD-1 | Greendorado 1 | 1.8 | 8 | 3 | 1 | 2 | 2025 | 15960 | 11352 | 6062 | 6 | 33374 | 15000 | 3000
ASZ | Agios Sozomenos | 6 | 25 | 6 | 1 | 5 |  | 26699 | 15672 | 12212 | 12 | 54583 | 30000 | 6000
DIA-1 | Dianary 1 | 2.5 | 10 | 3 | 1 | 2 | 2025 | 15960 | 11352 | 6062 | 6 | 33374 | 30000 | 6000
DIA-2 | Dianary 2 | 2.5 | 10 | 3 | 1 | 2 | Q3 2026 | 15960 | 11352 | 6062 | 6 | 33374 | 30000 | 6000
DIA-3 | Dianary 3 | 8 | 35 | 9 | 2 | 7 | Q3 2026 | 33858 | 18552 | 16312 | 16 | 68722 | 30000 | 6000
ELE-1 | ELESTORE 1 | 12 | 40 | 10 | 2 | 8 | Q2 2026 | 37438 | 19992 | 18362 | 18 | 75792 | 30000 | 6000
ELE-2 | ELESTORE 2 | 12 | 40 | 10 | 2 | 8 | Q2 2026 | 37438 | 19992 | 18362 | 18 | 75792 | 30000 | 6000
ELE-3 | ELESTORE 3 | 12 | 40 | 10 | 2 | 8 | Q2 2026 | 37438 | 19992 | 18362 | 18 | 75792 | 30000 | 6000
ELE-4 | ELESTORE 4 | 12 | 40 | 10 | 2 | 8 | Q2 2026 | 37438 | 19992 | 18362 | 18 | 75792 | 30000 | 6000
ELE-5 | ELESTORE 5 | 12 | 40 | 10 | 2 | 8 | Q2 2026 | 37438 | 19992 | 18362 | 18 | 75792 | 30000 | 6000
EAS | Easy Power 1 | 5 | 10 | 3 | 1 | 2 | 2025 | 15960 | 11352 | 6062 | 6 | 33374 | 30000 | 6000
EAS | Easy Power 2 | 4.5 | 10 | 3 | 1 | 2 | 2025 | 15960 | 11352 | 6062 | 6 | 33374 | 30000 | 6000
EAS | Easy Power 3 | 5 | 10 | 5 | 2 | 3 |  | 19540 | 12792 | 8112 | 8 | 40444 | 30000 | 6000
EAS | Easy Power 4 | 1.8 | 8 | 3 | 1 | 2 |  | 15960 | 11352 | 6062 | 6 | 33374 | 15000 | 3000
POL | Polemi8 | 1.25 | 10 | 4 | 1 | 3 | TBC | 19540 | 12792 | 8112 | 8 | 40444 | 30000 | 6000
POT-151 | Potamia p151 | 1.25 | 10 | 4 | 1 | 3 | TBC | 19540 | 12792 | 8112 | 8 | 40444 | 30000 | 6000
POT-208 | Potamia p208 | 4.5 | 20 | 8 | 2 | 6 | TBC | 30278 | 17112 | 14262 | 14 | 61652 | 30000 | 6000
REN-1 | Renergetic | 5 | 10 | 3 | 1 | 2 | Q2 2026 | 15960 | 11352 | 6062 | 6 | 33374 | 30000 | 6000
REN-2 | Renergetic | 2.4 | 10 | 3 | 1 | 2 |  | 15960 | 11352 | 6062 | 6 | 33374 | 30000 | 6000
SOL | Solarity | 5 | 10 | 3 | 1 | 2 | Q4 2026 | 15960 | 11352 | 6062 | 6 | 33374 | 30000 | 6000
SLT-3X | Solartech 3 Ext. | 2.5 | 10 | 3 | 1 | 2 |  | 15960 | 11352 | 6062 | 6 | 33374 | 30000 | 6000
WAN | Waneron | 3 | 11.28 | 3 | 1 | 2 | TBC | 15960 | 11352 | 6062 | 6 | 33374 | 30000 | 6000 |  |  | TOTAL GRUPE
| G1 TOTAL | 125 | 430.28 | 125 | 33 | 92 |  | 549345 | 344280 | 237650 | 234 | 1131275 | 675000 |  | 60000 |  | 1866275
ESP-F1 | Esperia Famagusta | 6.5 | 20 | 5 | 1 | 4 | Q2 2026 | 23119 | 14232 | 10162 | 10 | 47513 | 30000 | 6000 | 60000 | 12000
ESP-F2 | Esperia Famagusta 2 | 5 | 20 | 5 | 1 | 4 | Q3 2027 | 23119 | 14232 | 10162 | 10 | 47513 | 30000 | 6000
ESP-FR | Esperia Frenaros | 25 | 100 | 23 | 3 | 20 | Q4 2026 | 84018 | 40152 | 42962 | 42 | 167132 | 30000 | 6000
ESP-LIM | Esperia Limassol | 8 | 60 | 14 | 2 | 12 | Q4 2026 | 53569 | 27192 | 26562 | 26 | 107323 | 30000 | 6000
GAL-1 | Galascope 1 | 5 | 15 | 5 | 2 | 3 | Q4 2025 | 19540 | 12792 | 8112 | 8 | 40444 | 30000 | 6000
GAL-2 | Galascope 2 | 2.5 | 8 | 3 | 1 | 2 | Q4 2025 | 15960 | 11352 | 6062 | 6 | 33374 | 15000 | 3000
ESP-T1 | Esperia Tseri | 7 | 20 | 5 | 1 | 4 | 2028 | 23119 | 14232 | 10162 | 10 | 47513 | 30000 | 6000
ESP-T2a | Esperia Tseri 2a | 2.5 | 7.5 | 3 | 1 | 2 | 2028 | 15960 | 11352 | 6062 | 6 | 33374 | 15000 | 3000
ESP-T2b | Esperia Tseri 2b | 7.5 | 25 | 7 | 2 | 5 | 2028 | 26699 | 15672 | 12212 | 12 | 54583 | 30000 | 6000
ESP-T2c | Esperia Tseri 2c | 6 | 20 | 5 | 1 | 4 | 2028 | 23119 | 14232 | 10162 | 10 | 47513 | 30000 | 6000
ESP-T3 | Esperia Tseri 3 | 4.5 | 15 | 4 | 1 | 3 | 2028 | 19540 | 12792 | 8112 | 8 | 40444 | 30000 | 6000 |  |  | TOTAL GRUPE
| G2 Total | 79.5 | 310.5 | 79 | 16 | 63 |  | 327762 | 188232 | 150732 | 148 | 666726 | 300000 |  | 60000 |  | 1026726
LT | L&T Res Systems | 1 | 4 | 2 | 1 | 1 | TBC | 12380 | 9912 | 4012 | 4 | 26304 | 15000 | 3000 | 60000 | 12000
LT | L&T Solar Power | 1.5 | 5 | 2 | 1 | 1 | TBC | 12380 | 9912 | 4012 | 4 | 26304 | 15000 | 3000
LT | L&T Sun Energy | 5 | 15 | 4 | 1 | 3 | TBC | 19540 | 12792 | 8112 | 8 | 40444 | 30000 | 6000
LT | L&T Energia | 1.5 | 5 | 2 | 1 | 1 | TBC | 12380 | 9912 | 4012 | 4 | 26304 | 15000 | 3000
LT | L&T PV Tech | 1 | 4 | 2 | 1 | 1 | TBC | 12380 | 9912 | 4012 | 4 | 26304 | 15000 | 3000
AGM | AGM Lightpower | 8 | 24 | 7 | 2 | 5 | TBC | 26699 | 15672 | 12212 | 12 | 54583 | 30000 | 6000
AGM | AGM Sunfield 1 | 5 | 15 | 4 | 1 | 3 | TBC | 19540 | 12792 | 8112 | 8 | 40444 | 30000 | 6000
AGM | AGM Sunfield 2 | 1.5 | 5 | 2 | 1 | 1 | TBC | 12380 | 9912 | 4012 | 4 | 26304 | 15000 | 3000
AGM | AGM Sunfield 3 | 1 | 4 | 2 | 1 | 1 | TBC | 12380 | 9912 | 4012 | 4 | 26304 | 15000 | 3000 |  |  | TOTAL GRUPE
| G3 Total | 25.5 | 81 | 27 | 10 | 17 |  | 140059 | 100728 | 52508 | 52 | 293295 | 180000 |  | 60000 |  | 533295
CLS | Classone Solar Breeze | 1.5 | 5 |  | 1 | 1 | TBC | 12380 | 9912 | 4012 | 4 | 26304 | 15000 | 3000
CLS | Classone Solar Garden | 3.3 | 10 |  | 1 | 2 | TBC | 15960 | 11352 | 6062 | 6 | 33374 | 30000 | 6000
PAP | Paphos 1 | 2.5 | 7.5 |  | 1 | 2 | TBC | 15960 | 11352 | 6062 | 6 | 33374 | 15000 | 3000
PAP | Paphos 2 | 2.5 | 7.5 |  | 1 | 2 | TBC | 15960 | 11352 | 6062 | 6 | 33374 | 15000 | 3000
PAP | Paphos 3 | 1.5 | 5 |  | 1 | 1 | TBC | 12380 | 9912 | 4012 | 4 | 26304 | 15000 | 3000
MSP | My Sun Park (Karis) | 7.7 | 25 |  | 2 | 5 | Q2 2026 | 26699 | 15672 | 12212 | 12 | 54583 | 30000 | 6000
| Total | 19 | 60 | 0 | 7 | 13 | [5 empty] | 207313 | 120000 |  |  |  | 327313
Totals
Count | Category
~220 | Total MW | [14 empty] | TOTAL ALL | 3753609
~863.5 | Total MWh
~156 | BESS Containers
~56 | MV Skid Containers
~212 | Total Containers
Notes:
BESS = 5.015 MWh battery containers (20HC)
MV Skid = PCS + Transformer containers (typically 5-6 MW each)
Note on N3: [Komentarz podzielony na wątki] Używana wersja programu Excel umożliwia odczytanie tego komentarza podzielonego na wątki, jednak wszelkie wprowadzone w nim zmiany zostaną usunięte po otwarciu pliku w nowszej wersji programu Excel. Dowiedz się więcej: https://go.microsoft.com/fwlink/?linkid=870924 Komentarz: <10MWH - 15 000 euro, > 10MWh - 30 000 euro

## Packages and functionalities
COMFORT | SILVER | GOLD
Monitoring and Basic Diagnostics | Monitoring and Basic Diagnostics | Monitoring and Basic Diagnostics
Monitoring of basic installation parameters | Monitoring of basic installation parameters | Monitoring of basic installation parameters
Monitoring of parameters for each device (PV, BESS, meters, transformer station) | Monitoring of parameters for each device (PV, BESS, meters, transformer station) | Monitoring of parameters for each device (PV, BESS, meters, transformer station)
- | Detailed monitoring and diagnostics of parameters for each device | Detailed monitoring and diagnostics of parameters for each device
Data Collection, Event History, and Efficiency Analysis | Data Collection, Event History, and Efficiency Analysis | Data Collection, Event History, and Efficiency Analysis
History of energy production and consumption | History of energy production and consumption | History of energy production and consumption
History and diagnostics of data from each device | History and diagnostics of data from each device | History and diagnostics of data from each device
Event history – logging of events, alarms, and fault conditions of all devices | Event history – logging of events, alarms, and fault conditions of all devices | Event history – logging of events, alarms, and fault conditions of all devices
- | History of energy purchase and sale costs based on tariff and energy prices | History of energy purchase and sale costs based on tariff and energy prices
- | Efficiency analysis of devices (e.g., kWh/kWp, efficiency) | Efficiency analysis of devices (e.g., kWh/kWp, efficiency)
Device and System Control | Device and System Control | Device and System Control
Remote control for turning devices on and off (PV, BESS, EV) | Remote control for turning devices on and off (PV, BESS, EV) | Remote control for turning devices on and off (PV, BESS, EV)
Configuration of device parameters (PV, BESS, EV) | Configuration of device parameters (PV, BESS, EV) | Configuration of device parameters (PV, BESS, EV)
Power distribution and control between inverters | Power distribution and control between inverters | Power distribution and control between inverters
- | - | Control by energy market service operators or energy trading companies
Active Power Management and Operation Strategies | Active Power Management and Operation Strategies | Active Power Management and Operation Strategies
Setting constant values according to a schedule | Setting constant values according to a schedule | Setting constant values according to a schedule
Zero import/export mode regulation | Zero import/export mode regulation | Zero import/export mode regulation
- | Set import/export mode regulation | Set import/export mode regulation
- | Peak shaving mode regulation | Peak shaving mode regulation
- | Dynamic control based on price and weather | Dynamic control based on price and weather
- | - | Individual power control and distribution for each inverter and battery
Reactive Power and Power Factor Management | Reactive Power and Power Factor Management | Reactive Power and Power Factor Management
Setting constant values according to a schedule | Setting constant values according to a schedule | Setting constant values according to a schedule
Reactive power compensation – control of Q, power factor cos φ / tan φ | Reactive power compensation – control of Q, power factor cos φ / tan φ | Reactive power compensation – control of Q, power factor cos φ / tan φ
Reactive power regulation – Q/U control | Reactive power regulation – Q/U control | Reactive power regulation – Q/U control
Reactive power regulation – system services | Reactive power regulation – system services | Reactive power regulation – system services
Device Schedule Management | Device Schedule Management | Device Schedule Management
Weekly schedule for the entire installation (BESS, PV, EV) | Weekly schedule for the entire installation (BESS, PV, EV) | Weekly schedule for the entire installation (BESS, PV, EV)
- | - | Advanced individual schedules based on priority weather conditions, energy prices, and arbitrage
Safety, Alarms, and Emergency Mode | Safety, Alarms, and Emergency Mode | Safety, Alarms, and Emergency Mode
Extended notifications from each device – e-mail, SMS | Extended notifications from each device – e-mail, SMS | Extended notifications from each device – e-mail, SMS
Overload and overvoltage protection | Overload and overvoltage protection | Overload and overvoltage protection
- | Real-time diagnostics + alarms based on custom thresholds | Real-time diagnostics + alarms based on custom thresholds
- | Emergency mode (Backup Mode) – switching to BESS/generator during power outage | Emergency mode (Backup Mode) – switching to BESS/generator during power outage
Analytics and Reporting | Analytics and Reporting | Analytics and Reporting
Basic energy production report from PV and other RES sources | Basic energy production report from PV and other RES sources | Basic energy production report from PV and other RES sources
- | Extended report (production, energy storage, consumption, events) | Extended report (production, energy storage, consumption, events)
- | - | Advanced report (energy balance, costs, profits, arbitrage)
- | - | Investor dashboard (KPI, ROI, financial data)
Integration with External Data Sources | Integration with External Data Sources | Integration with External Data Sources
Energy market price reading (TGE) | Energy market price reading (TGE) | Energy market price reading (TGE)
Weather forecast reading | Weather forecast reading | Weather forecast reading
Reading data from operator’s communication devices | Reading data from operator’s communication devices | Reading data from operator’s communication devices
- | Communication with system service operator of the energy market | Communication with system service operator of the energy market
Advanced Power Control and Limits | Advanced Power Control and Limits | Advanced Power Control and Limits
Export/import power limit – based on operator, price, grid,PV production, weather | Export/import power limit – based on operator, price, grid,PV production, weather | Export/import power limit – based on operator, price, grid,PV production, weather
- | Power limits for PV/BESS/EV – based on AC grid voltage | Power limits for PV/BESS/EV – based on AC grid voltage
- | Power limits for PV/BESS in Off-Grid mode – based on SOC % and AC grid voltage | Power limits for PV/BESS in Off-Grid mode – based on SOC % and AC grid voltage
- | BESS limits – based on SOC %, inverter temperature, and cell voltage and temperature | BESS limits – based on SOC %, inverter temperature, and cell voltage and temperature
Support for Aggregates and Cogenerators | System Services and Additional Revenues | System Services and Additional Revenues
Manual generator switching on/off | Static price arbitrage schedule | Static price arbitrage schedule
Monitoring of power flow from the generator | Dynamic price arbitrage | Dynamic price arbitrage
- | - | Demand Side Response (DSR) – temporary power reduction
- | - | System services (US) – frequency regulation
Support for Aggregates and Cogenerators | Support for Aggregates and Cogenerators | Support for Aggregates and Cogenerators
- | Manual generator switching on/off | Manual generator switching on/off
- | Monitoring of power flow from the generator | Monitoring of power flow from the generator
- | Automatic switching on/off based on SOC and grid load | Automatic switching on/off based on SOC and grid load
Management of Auxiliary Devices | Management of Auxiliary Devices | Management of Auxiliary Devices
- | - | Priority control of loads based on export/import power, SOC level %, and PV production
EV Charging Infrastructure Management | EV Charging Infrastructure Management | EV Charging Infrastructure Management
- | - | Basic monitoring and control of EV stations (read, turn on/off)
- | - | Advanced EV charging power management (PV production, SOC level %, energy prices)
Smart Forecasting and Optimization | Smart Forecasting and Optimization | Smart Forecasting and Optimization
- | - | Forecasting of energy production and consumption
- | - | Power fee reduction – automatic balancing of day/night tariffs
- | - | Dynamic tariff selection algorithms
Advanced AI-Based Control Optimization | Advanced AI-Based Control Optimization | Advanced AI-Based Control Optimization
| - | Optimization of power flow based on energy prices (TGE), energy consumption, production prediction
| - | Control based on weather forecast (night charging)
| - | Optimization of EV charging (PV production, energy prices)

## Arkusz2
Functionalities of the Monitoring and Control System |  | Minimum Package | Device
1. Monitoring and Visualization | BESS monitoring | COMFORT | EMS
| PV installation monitoring | COMFORT | SPC
| MV network monitoring (transformer stations, protections) | COMFORT | HPC
| EV charging infrastructure monitoring | COMFORT | EVMS
| Monitoring of additional energy meters (PPE, PWE, PB, zones) | COMFORT | HPC
| Dashboards and visualization (widgets) | COMFORT | SCADA
| Programmable user dashboard (widgets) | COMFORT | SCADA
| Monitoring of multiple installations in one system | COMFORT | SCADA
2. BESS Control and Management | BESS control – operation profiles | COMFORT | EMS
| Work schedules (daily, weekly, advanced) | COMFORT | EMS/SCADA
| Zero Export / Zero Import mode | COMFORT | HPC/EMS
| Reactive power management (Q, Q/U) | COMFORT | HPC/EMS
| Power limit – control on BESS side | COMFORT | EMS
| Advanced optimization (Set Import/Export) | SILVER | HPC/EMS
| Advanced optimization (Peak Shaving) | SILVER | HPC/EMS
| Control by TSO/DSO or trading companies | SILVER | HPC/EMS
| Dynamic control based on TGE forecasts (e.g., night charging) | GOLD | HPC/EMS/SCADA
| Dynamic control based on weather forecasts | GOLD | HPC/EMS/SCADA
| Power capacity charge reduction (balancing day/night tariffs) | GOLD | HPC/EMS
| Integration with system services (aFRR, FCR, frequency regulation) | GOLD | HPC/EMS
3. PV Control and Management | PV control – operation profiles | COMFORT | HPC/SPC
| Power limit – control on PV side | COMFORT | HPC/SPC
| Reactive power management (Q, Q/U) | COMFORT | HPC/SPC
4. MV/LV Network Control and Management | MV management (IED control, switches, MV power limits) | COMFORT | HPC
| Power limit – control at grid connection (GRID) | COMFORT | HPC
| Microgrid operation (off-grid) | SILVER | HPC
6. Load Control and Management | Load power allocation (e.g., by PV generation, SOC, priorities) | GOLD | HPC
| Load control based on energy prices | GOLD | HPC/SCADA
| Load control based on PV production availability | GOLD | HPC/SCADA
7. Data Acquisition (without control) | BESS data acquisition | COMFORT | EMS
| PV installation data acquisition | COMFORT | SPC
| EV charging infrastructure data acquisition | COMFORT | EVMS
| MV network data acquisition | COMFORT | HPC
| Energy meter data acquisition | COMFORT | HPC
| Main connection meter acquisition (billing) | COMFORT | HPC
| Building consumption meter acquisition | COMFORT | HPC
| PV infrastructure meters (inverters) acquisition | COMFORT | HPC
| Cogenerator / generator meter acquisition | COMFORT | HPC
| BESS meter acquisition | COMFORT | HPC
| EV charger meter acquisition | COMFORT | HPC
8. Analytics, Reporting, Forecasting | Reporting and analytics | COMFORT | SCADA
| Weather forecast integration | SILVER | SCADA
| TGE data integration (energy prices) | SILVER | SCADA
9. EV Charging Infrastructure | EV charging station monitoring | COMFORT | EVMS
| EV charging station control | GOLD | EVMS
10. Cybersecurity | TLS/SSL | COMFORT | SCADA
| Firewall | COMFORT | FIREWALL
| Compliance with IEC 62443 standard | COMFORT | SCADA
| Compliance with NIS2 directive | COMFORT | SCADA