## Inputs
Cyprus PV + 4h BESS — Assumptions (YELLOW = editable)
INV-CY-PVBESS-1-5-10-2026 · September 2026 · Lighthief Cyprus Ltd · Non-binding indicative model
Edit any yellow cell — Detail_* sheets recalc via live formulas. Re-run script to refresh Summary/Cashflow.
Parameter | Value | Unit | Source / Note
PV CONFIGURATION A — FIXED BIFACIAL
Fixed — specific yield | 1800 | kWh/kWp/yr | Public SSOT — fixed bifacial
Fixed — PV EPC turnkey | 600000 | €/MWp | Public turnkey EPC
Fixed — PV O&M | 9000 | €/MW/yr | Public PV O&M
PV CONFIGURATION B — TRACKER + BIFACIAL + WHITE ALBEDO
Tracker — specific yield | 2200 | kWh/kWp/yr | Public SSOT — 2P tracker bifacial
Tracker — PV EPC turnkey | 780000 | €/MWp | Public turnkey EPC
Tracker — PV O&M | 9000 | €/MW/yr | Public PV O&M
BESS & TECHNICAL
BESS duration | 4 | hours | 4-hour system (MW = MWh/4)
Curtailment baseline | 50% | % | BESS_DEFAULTS 2027 baseline
BESS capture of curtailment | 95% | % | Avdellero public capture 95%
RTE AC–AC | 86.32% | % | BESS_DEFAULTS.rteAcAc
Full-cycle days / year | 280 | days | Curtailment-active days Cyprus
PRICES (market data)
DAM daytime (uncurtailed PV) | 151.38 | €/MWh | TSOC DAM 339-day sample 06–17h (to 4 Sep 2026)
Evening discharge (BESS) | 212.42 | €/MWh | TSOC DAM 339-day sample evening peak
CAPEX (shared) & OPEX
BESS EPC installed | 125000 | €/MWh | 4h LFP installed
RTB / development | 450000 | €/MW | Public RTB acquisition
EAC connection terms | 150000 | €/MW | Indicative EAC connection
Other CAPEX (flat) | 0 | € | MV cable / permitting / contingency
BESS LTSA | 2200 | €/MWh/yr | Public LTSA — all years (no OEM extended warranty in model)
SCADA / EMS | 5000 | €/yr
Admin | 10000 | €/yr
Land lease — 1 MW | 8000 | €/yr | Indicative; site-specific
Land lease — 5 MW | 25000 | €/yr | Indicative; site-specific
Land lease — 10 MW | 45000 | €/yr | Indicative; site-specific
Insurance | 0.5% | % of CAPEX | 0.5% CAPEX
FINANCE
Aggregator / market access | 10% | % | PV_DEFAULTS.aggregatorFeePct
Cyprus CIT | 15% | % | From 1 Jan 2026
LTV (senior debt) | 0% | % of CAPEX | 0 = 100% equity base; try 65%
Loan interest rate | 5.5% | % | Indicative Cyprus commercial
Loan tenor | 12 | years
DA — EPC years | 20 | years | Tax depreciation
DA — development years | 15 | years | Tax depreciation
SCENARIO SIZES (editable)
1 MW — PV capacity | 1 | MWp
1 MW — BESS energy | 4 | MWh | 4h → power = MWh/4
5 MW — PV capacity | 5 | MWp
5 MW — BESS energy | 20 | MWh
10 MW — PV capacity | 10 | MWp
10 MW — BESS energy | 40 | MWh
Legend: | Yellow = editable input | Green = calculated

## Summary
Indicative Comparison — 1 / 5 / 10 MW PV + 4-hour BESS (Cyprus merchant hybrid)
Base case = 100% equity. Evening discharge from live market data. Two PV configs.
■ Configuration: Fixed Bifacial
Metric | 1 MW + 4 MWh | 5 MW + 20 MWh | 10 MW + 40 MWh
PV specific yield (kWh/kWp) | 1800 | 1800 | 1800
BESS energy (MWh) | 4 | 20 | 40
Total CAPEX (€) | 1700000 | 8500000 | 17000000
PV EPC | 600000 | 3000000 | 6000000
BESS EPC | 500000 | 2500000 | 5000000
RTB / development | 450000 | 2250000 | 4500000
Annual PV production (MWh) | 1800 | 9000 | 18000
Gross Y1 revenue (€) | 293015.6071 | 1465078.0356 | 2930156.0712
Uncurtailed solar | 136242 | 681210 | 1362420
BESS discharge | 156773.6071 | 783868.0356 | 1567736.0712
OPEX Y1 (€) | 49300 | 171500 | 323000
EBITDA Y1 (€) | 214414.0464 | 1147070.232 | 2314140.4641
After-tax FCF Y1 (€) | 196501.9394 | 1046259.6972 | 2109519.3945
Cash yield on equity Y1 | 11.56% | 12.31% | 12.41%
Simple equity payback (yr) | 8.6513 | 8.1242 | 8.0587
Cumulative payback w/ deg. (yr) | 9.3099 | 8.6569 | 8.5773
Equity IRR 20y (deg.+OEM war.) | 8.094% | 9.129% | 9.264%
NPV @ 8% (€) | 11191.2719 | 681863.2567 | 1530635.0193
■ Configuration: Single-Axis Tracker · Bifacial 2P
Metric | 1 MW + 4 MWh | 5 MW + 20 MWh | 10 MW + 40 MWh
PV specific yield (kWh/kWp) | 2200 | 2200 | 2200
BESS energy (MWh) | 4 | 20 | 40
Total CAPEX (€) | 1880000 | 9400000 | 18800000
PV EPC | 780000 | 3900000 | 7800000
BESS EPC | 500000 | 2500000 | 5000000
RTB / development | 450000 | 2250000 | 4500000
Annual PV production (MWh) | 2200 | 11000 | 22000
Gross Y1 revenue (€) | 358130.1865 | 1790650.9324 | 3581301.8648
Uncurtailed solar | 166518 | 832590 | 1665180
BESS discharge | 191612.1865 | 958060.9324 | 1916121.8648
OPEX Y1 (€) | 50200 | 176000 | 332000
EBITDA Y1 (€) | 272117.1678 | 1435585.8392 | 2891171.6783
After-tax FCF Y1 (€) | 246899.5927 | 1298247.9633 | 2613495.9266
Cash yield on equity Y1 | 13.13% | 13.81% | 13.9%
Simple equity payback (yr) | 7.6144 | 7.2405 | 7.1934
Cumulative payback w/ deg. (yr) | 8.0935 | 7.6461 | 7.5904
Equity IRR 20y (deg.+OEM war.) | 10.06% | 10.95% | 11.07%
NPV @ 8% (€) | 277537.5856 | 2013594.825 | 4194098.1559
Notes
Revenue = uncurtailed PV at DAM daytime + curtailed energy stored (charge €0) and discharged at evening price.
Evening discharge €212.42/MWh = TSOC DAM 339-day sample evening peak (1 Oct 2025–4 Sep 2026).
Fixed PV EPC €600k/MWp. Tracker €780k/MWp. RTB €450k/MW. EAC connection €150k/MW.
BESS EPC €125k/MWh installed 4h. LTSA €2,200/MWh/yr. PV O&M €9k/MW/yr.
Cyprus rule: BESS cannot yet buy from DAM — no arbitrage. Capacity/ancillary = €0 (upside).
20y IRR/NPV include PV & BESS degradation. OPEX is PV O&M + BESS LTSA only (no OEM extended warranty). Indicative, non-binding, ex-VAT.
Contact: Alexander Papacosta, Cyprus Director · +357 99 164 158 · office@lighthief.com

## D_1MW_Fixed
1 MW + 4 MWh · Fixed Bifacial — live formulas (reads Inputs)
PV capacity (MWp)
BESS energy (MWh)
BESS power (MW)
Specific yield (kWh/kWp)
CAPEX
PV EPC
BESS EPC
RTB / development
EAC connection
Other CAPEX
Total CAPEX
Senior debt
Equity
ENERGY & REVENUE Y1
Annual PV production (MWh)
Uncurtailed (MWh)
Curtailed (MWh)
BESS charged (MWh)
BESS discharged (MWh)
Solar revenue (€)
BESS revenue (€)
Gross revenue (€)
Aggregator fee (€)
Net revenue (€)
OPEX & RETURNS Y1
PV O&M
BESS LTSA
SCADA
Admin
Land lease
Insurance
Total OPEX
EBITDA
Debt service
D&A
Taxable income
CIT
After-tax FCF
Cash yield on equity
Simple payback (yr)
DSCR
Cross-check (Python Y1 FCF): | 196501.9394

## D_5MW_Fixed
5 MW + 20 MWh · Fixed Bifacial — live formulas (reads Inputs)
PV capacity (MWp)
BESS energy (MWh)
BESS power (MW)
Specific yield (kWh/kWp)
CAPEX
PV EPC
BESS EPC
RTB / development
EAC connection
Other CAPEX
Total CAPEX
Senior debt
Equity
ENERGY & REVENUE Y1
Annual PV production (MWh)
Uncurtailed (MWh)
Curtailed (MWh)
BESS charged (MWh)
BESS discharged (MWh)
Solar revenue (€)
BESS revenue (€)
Gross revenue (€)
Aggregator fee (€)
Net revenue (€)
OPEX & RETURNS Y1
PV O&M
BESS LTSA
SCADA
Admin
Land lease
Insurance
Total OPEX
EBITDA
Debt service
D&A
Taxable income
CIT
After-tax FCF
Cash yield on equity
Simple payback (yr)
DSCR
Cross-check (Python Y1 FCF): | 1046259.6972

## D_10MW_Fixed
10 MW + 40 MWh · Fixed Bifacial — live formulas (reads Inputs)
PV capacity (MWp)
BESS energy (MWh)
BESS power (MW)
Specific yield (kWh/kWp)
CAPEX
PV EPC
BESS EPC
RTB / development
EAC connection
Other CAPEX
Total CAPEX
Senior debt
Equity
ENERGY & REVENUE Y1
Annual PV production (MWh)
Uncurtailed (MWh)
Curtailed (MWh)
BESS charged (MWh)
BESS discharged (MWh)
Solar revenue (€)
BESS revenue (€)
Gross revenue (€)
Aggregator fee (€)
Net revenue (€)
OPEX & RETURNS Y1
PV O&M
BESS LTSA
SCADA
Admin
Land lease
Insurance
Total OPEX
EBITDA
Debt service
D&A
Taxable income
CIT
After-tax FCF
Cash yield on equity
Simple payback (yr)
DSCR
Cross-check (Python Y1 FCF): | 2109519.3945

## D_1MW_Tracker
1 MW + 4 MWh · Single-Axis Tracker · Bifacial 2P — live formulas (reads Inputs)
PV capacity (MWp)
BESS energy (MWh)
BESS power (MW)
Specific yield (kWh/kWp)
CAPEX
PV EPC
BESS EPC
RTB / development
EAC connection
Other CAPEX
Total CAPEX
Senior debt
Equity
ENERGY & REVENUE Y1
Annual PV production (MWh)
Uncurtailed (MWh)
Curtailed (MWh)
BESS charged (MWh)
BESS discharged (MWh)
Solar revenue (€)
BESS revenue (€)
Gross revenue (€)
Aggregator fee (€)
Net revenue (€)
OPEX & RETURNS Y1
PV O&M
BESS LTSA
SCADA
Admin
Land lease
Insurance
Total OPEX
EBITDA
Debt service
D&A
Taxable income
CIT
After-tax FCF
Cash yield on equity
Simple payback (yr)
DSCR
Cross-check (Python Y1 FCF): | 246899.5927

## D_5MW_Tracker
5 MW + 20 MWh · Single-Axis Tracker · Bifacial 2P — live formulas (reads Inputs)
PV capacity (MWp)
BESS energy (MWh)
BESS power (MW)
Specific yield (kWh/kWp)
CAPEX
PV EPC
BESS EPC
RTB / development
EAC connection
Other CAPEX
Total CAPEX
Senior debt
Equity
ENERGY & REVENUE Y1
Annual PV production (MWh)
Uncurtailed (MWh)
Curtailed (MWh)
BESS charged (MWh)
BESS discharged (MWh)
Solar revenue (€)
BESS revenue (€)
Gross revenue (€)
Aggregator fee (€)
Net revenue (€)
OPEX & RETURNS Y1
PV O&M
BESS LTSA
SCADA
Admin
Land lease
Insurance
Total OPEX
EBITDA
Debt service
D&A
Taxable income
CIT
After-tax FCF
Cash yield on equity
Simple payback (yr)
DSCR
Cross-check (Python Y1 FCF): | 1298247.9633

## D_10MW_Tracker
10 MW + 40 MWh · Single-Axis Tracker · Bifacial 2P — live formulas (reads Inputs)
PV capacity (MWp)
BESS energy (MWh)
BESS power (MW)
Specific yield (kWh/kWp)
CAPEX
PV EPC
BESS EPC
RTB / development
EAC connection
Other CAPEX
Total CAPEX
Senior debt
Equity
ENERGY & REVENUE Y1
Annual PV production (MWh)
Uncurtailed (MWh)
Curtailed (MWh)
BESS charged (MWh)
BESS discharged (MWh)
Solar revenue (€)
BESS revenue (€)
Gross revenue (€)
Aggregator fee (€)
Net revenue (€)
OPEX & RETURNS Y1
PV O&M
BESS LTSA
SCADA
Admin
Land lease
Insurance
Total OPEX
EBITDA
Debt service
D&A
Taxable income
CIT
After-tax FCF
Cash yield on equity
Simple payback (yr)
DSCR
Cross-check (Python Y1 FCF): | 2613495.9266

## Cashflow_20y
20-Year Equity Cashflow (computed from Inputs defaults; re-run script to refresh)
Includes PV & BESS degradation. Recurring OPEX is PV O&M + BESS LTSA only (OEM extended warranty excluded).
Year | 1 MW + 4 MWh · Fixed | 5 MW + 20 MWh · Fixed | 10 MW + 40 MWh · Fixed | 1 MW + 4 MWh · Tracker | 5 MW + 20 MWh · Tracker | 10 MW + 40 MWh · Tracker
0 (invest) | -1700000 | -8500000 | -17000000 | -1880000 | -9400000 | -18800000
1 | 196501.9394 | 1046259.6972 | 2109519.3945 | 246899.5927 | 1298247.9633 | 2613495.9266
2 | 192982.5186 | 1028662.5928 | 2074325.1856 | 242598.0782 | 1276740.3912 | 2570480.7824
3 | 189540.6607 | 1011453.3034 | 2039906.6068 | 238391.3631 | 1255706.8153 | 2528413.6306
4 | 186174.4789 | 994622.3943 | 2006244.7885 | 234277.1408 | 1235135.7041 | 2487271.4082
5 | 182882.133 | 978160.6651 | 1973321.3302 | 230253.1626 | 1215015.8129 | 2447031.6258
6 | 179661.8289 | 962059.1444 | 1941118.2888 | 226317.2353 | 1195336.1765 | 2407672.3529
7 | 176511.8167 | 946309.0836 | 1909618.1672 | 222467.2204 | 1176086.1022 | 2369172.2043
8 | 173430.3903 | 930901.9516 | 1878803.9032 | 218701.0326 | 1157255.163 | 2331510.3261
9 | 170415.8859 | 915829.4293 | 1848658.8586 | 215016.6383 | 1138833.1914 | 2294666.3827
10 | 167466.6809 | 901083.4043 | 1819166.8086 | 211412.0544 | 1120810.2719 | 2258620.5438
11 | 164581.1931 | 886655.9657 | 1790311.9315 | 207885.3472 | 1103176.7359 | 2223353.4718
12 | 161757.8799 | 872539.3993 | 1762078.7986 | 204434.6309 | 1085923.1547 | 2188846.3094
13 | 158995.2364 | 858726.1822 | 1734452.3645 | 201058.0668 | 1069040.3338 | 2155080.6677
14 | 156291.7957 | 845208.9786 | 1707417.9572 | 197753.8614 | 1052519.3072 | 2122038.6144
15 | 153646.1269 | 831980.6347 | 1680961.2694 | 194520.2663 | 1036351.3313 | 2089702.6626
16 | 151056.8349 | 819034.1744 | 1655068.3488 | 191355.576 | 1020527.8798 | 2058055.7596
17 | 148522.5589 | 806362.7947 | 1629725.5893 | 188258.1276 | 1005040.6379 | 2027081.2758
18 | 146041.9723 | 793959.8614 | 1604919.7229 | 185226.2995 | 989881.4973 | 1996762.9946
19 | 143613.781 | 781818.9052 | 1580637.8105 | 182258.5102 | 975042.5508 | 1967085.1017
20 | 141236.7234 | 769933.6171 | 1556867.2342 | 179353.2175 | 960516.0876 | 1938032.1751
Equity IRR | 8.094% | 9.129% | 9.264% | 10.06% | 10.95% | 11.07%
NPV @ 8% | 11191.2719 | 681863.2567 | 1530635.0193 | 277537.5856 | 2013594.825 | 4194098.1559
Simple payback (yr) | 8.6513 | 8.1242 | 8.0587 | 7.6144 | 7.2405 | 7.1934

## Sources
Single Source of Truth — validation map
Item | File | Value / note
Evening discharge €212.42 | lib/market/cyprus-tsoc-dam-sample.ts | 339 TSOC DAM days to 4 Sep 2026
DAM daytime €151.38 | lib/market/cyprus-tsoc-dam-sample.ts | 06:00–17:00 average
RTE / capture / curtailment | lib/public-hybrid-ssot.ts | 86.32% / 95% / 50%
Fixed PV EPC €600k/MWp | lib/public-hybrid-ssot.ts | Public turnkey EPC
Tracker PV EPC €780k/MWp | lib/public-hybrid-ssot.ts | Public turnkey EPC
BESS EPC €125k/MWh | lib/public-hybrid-ssot.ts | 4h LFP installed
PV O&M €9k/MW/yr | lib/public-hybrid-ssot.ts | Public O&M
BESS LTSA €2,200/MWh/yr | lib/public-hybrid-ssot.ts | Public LTSA
RTB €450k/MW + connection €150k/MW | lib/public-hybrid-ssot.ts
CIT 15% / aggregator 10% | PV_DEFAULTS | From 1 Jan 2026
Yields 1,850 / 2,450 | Client-tested Year-1 | Fixed bifacial / tracker+bifacial+albedo
Contact | lib/constants.ts → COMPANY_DATA | office@lighthief.com / +357 99 164 158
Lighthief Cyprus Ltd · HE 477423 · solarfarms.cy · Alexander Papacosta · +357 99 164 158 · office@lighthief.com