## Assumptions
Avdellero 45 MW Solar PV + BESS — Financial Model
Sep 2026 · Lighthief Cyprus Ltd · Trina 600W bifacial · 1,800 kWh/kWp · DAM €147/MWh · 15% aggregator
PROJECT
PV capacity | 45.21 | MW | All 11 sub-projects, Avdellero, Larnaca, Cyprus
BESS (4-hour) | 180.84 | MWh | 45.21 MW × 4h
Panels | 75,350 × 600W TopCon bifacial |  | Portrait 30° south, 5.34m row pitch, 1.20m mount
Specific yield | 1800 | kWh/kWp | PVGIS 1,776 + bifacial gain = 1,800 confirmed
Annual PV output Y1 | 81378 | MWh
Total sold Y1 | 74056 | MWh | Direct + BESS (RTE 86.32%)
REVENUE
DAM rate (flat) | 147 | €/MWh | Conservative — TSOC avg €200, peak €212
Aggregator | 15% |  | 15% market rate
Net revenue Y1 | 9253248 | €
Revenue degradation | 0.5% | %/yr | 0.5%/yr PV
CAPEX
RTB | 18084000 | € | 45.21 MW × €400K/MW confirmed
BESS hardware (Linyang) | 18084000 | € | 180.84 MWh × €100K
BESS EPC self-cost | 4521000 | € | 180.84 MWh × €25K
PV EPC self-perform | 22605000 | € | 45,210 kWp × €500/kWp
EAC substation | 7200000 | € | In SPV · 5% PCT paid
Development | 750000 | €
TOTAL CAPEX | 71244000 | €
OPEX Y1
PV O&M | 361680 | €/yr | €8K/MWp/yr
BESS LTSA | 314661.6 | €/yr | €1,740/MWh/yr
Ext warranty (Y6+) | 289344 | €/yr | €1,600/MWh/yr Linyang
Land lease | 120000 | €/yr | €120K confirmed 33yr
Insurance | 250000 | €/yr | CAR/EAR
SCADA+admin | 110000 | €/yr
Total OPEX Y1 | 1156341.6 | €/yr | +2%/yr inflation
FINANCING
Alpha Bank loan | 33907500 | € | 75% LTV on BESS+PV EPC
Alpha Bank rate | 4.12% |  | Euribor 2.62% + 1.5% (Dino confirmed)
Alpha Bank term | 15 | years
Alpha Bank PMT | 3075323 | €/yr | Fixed annuity Y1-Y15
Equity partner | 25000000 | € | €25M for 25% SPV
Lighthief equity WITH bank | 12336500 | €
Lighthief equity NO bank | 46244000 | €
TAX + BESS REPLACEMENT
Cyprus CIT | 15% |  | 15% from 1 Jan 2026
BESS repl Y15 | 17179800 | € | €95K/MWh × 180.84 → new 10yr loan
BESS repl PMT | 2130786 | €/yr | Y16–Y25

## Cash Flow — With Bank
Avdellero 45 MW · 25-Year Cash Flow · WITH Alpha Bank
Bank €33.9M@4.12% Lighthief €12.3M EP €25M→25% Waterfall structure All values €K
Yr | Net Rev €K | OPEX €K | EBITDA €K | D&A €K | Interest €K | Tax €K | Debt Svc €K | FCFE €K | Partner €K | Developer €K | Cum Partner €K | Cum Dev €K
1 | 9253 | 1156 | 8097 | 3498 | 1397 | 480 | 3075 | 4541 | 4541 | 0 | -20459 | -12336
2 | 9207 | 1179 | 8028 | 3498 | 1328 | 480 | 3075 | 4472 | 4472 | 0 | -15987 | -12336
3 | 9161 | 1203 | 7958 | 3498 | 1256 | 481 | 3075 | 4402 | 4402 | 0 | -11585 | -12336
4 | 9115 | 1227 | 7888 | 3498 | 1181 | 481 | 3075 | 4331 | 4331 | 0 | -7254 | -12336
5 | 9070 | 1252 | 7818 | 3498 | 1103 | 483 | 3075 | 4260 | 4260 | 0 | -2994 | -12336
6 | 9024 | 1596 | 7428 | 3498 | 1022 | 436 | 3075 | 3916 | 3224 | 692 | 231 | -11645
7 | 8979 | 1628 | 7351 | 3498 | 937 | 437 | 3075 | 3838 | 960 | 2879 | 1190 | -8766
8 | 8934 | 1661 | 7274 | 3498 | 849 | 439 | 3075 | 3759 | 940 | 2819 | 2130 | -5946
9 | 8890 | 1694 | 7196 | 3498 | 757 | 441 | 3075 | 3679 | 920 | 2759 | 3050 | -3187
10 | 8845 | 1728 | 7117 | 3498 | 662 | 444 | 3075 | 3598 | 900 | 2699 | 3949 | -488
11 | 8801 | 1762 | 7039 | 3498 | 562 | 447 | 3075 | 3516 | 879 | 2637 | 4828 | 2149
12 | 8757 | 1798 | 6959 | 3498 | 459 | 450 | 3075 | 3434 | 858 | 2575 | 5687 | 4724
13 | 8713 | 1833 | 6880 | 3498 | 351 | 455 | 3075 | 3350 | 837 | 2512 | 6524 | 7236
14 | 8670 | 1870 | 6799 | 3498 | 239 | 459 | 3075 | 3265 | 816 | 2448 | 7340 | 9685
15 | 8626 | 1908 | 6719 | 3498 | 122 | 465 | 3075 | 3178 | 795 | 2384 | 8135 | 12068
16 | 8583 | 1946 | 6637 | 3634 | 708 | 344 | 2131 | 4162 | 1041 | 3122 | 9176 | 15190
17 | 8540 | 1985 | 6555 | 3634 | 649 | 341 | 2131 | 4084 | 1021 | 3063 | 10196 | 18253
18 | 8497 | 2024 | 6473 | 3634 | 588 | 338 | 2131 | 4005 | 1001 | 3003 | 11198 | 21256
19 | 8455 | 2065 | 6390 | 3634 | 525 | 335 | 2131 | 3925 | 981 | 2943 | 12179 | 24200
20 | 8413 | 2106 | 6307 | 3634 | 458 | 332 | 2131 | 3844 | 961 | 2883 | 13140 | 27082
21 | 8371 | 2148 | 6222 | 3634 | 390 | 330 | 2131 | 3762 | 940 | 2821 | 14080 | 29904
22 | 8329 | 2191 | 6138 | 3634 | 318 | 328 | 2131 | 3679 | 920 | 2759 | 15000 | 32663
23 | 8287 | 2235 | 6052 | 3634 | 243 | 326 | 2131 | 3595 | 899 | 2696 | 15899 | 35359
24 | 8246 | 2280 | 5966 | 3634 | 165 | 325 | 2131 | 3510 | 878 | 2633 | 16776 | 37992
25 | 8204 | 2325 | 5879 | 3634 | 84 | 324 | 2131 | 3424 | 856 | 2568 | 17632 | 40560
25-YR TOTAL | 217969 | 44800 | 173169 | 88799 | 16350 | 10203 | 67438 | 95528 | 42632 | 52896
Green=partner capital recovered · Yellow=BESS replacement Y16 · Waterfall: all FCFE to partner until €25M recovered then 25/75 split

## Cash Flow — No Bank
Avdellero 45 MW · 25-Year Cash Flow · NO Bank — Pure Equity
Pure equity Lighthief €46.2M EP €25M→25% Waterfall structure All values €K
Yr | Net Rev €K | OPEX €K | EBITDA €K | D&A €K | Interest €K | Tax €K | Debt Svc €K | FCFE €K | Partner €K | Developer €K | Cum Partner €K | Cum Dev €K
1 | 9253 | 1156 | 8097 | 3498 | 0 | 690 | 0 | 7407 | 7407 | 0 | -17593 | -46244
2 | 9207 | 1179 | 8028 | 3498 | 0 | 679 | 0 | 7348 | 7348 | 0 | -10245 | -46244
3 | 9161 | 1203 | 7958 | 3498 | 0 | 669 | 0 | 7289 | 7289 | 0 | -2956 | -46244
4 | 9115 | 1227 | 7888 | 3498 | 0 | 659 | 0 | 7229 | 4024 | 3205 | 1068 | -43039
5 | 9070 | 1252 | 7818 | 3498 | 0 | 648 | 0 | 7170 | 1792 | 5377 | 2861 | -37662
6 | 9024 | 1596 | 7428 | 3498 | 0 | 590 | 0 | 6838 | 1710 | 5129 | 4570 | -32533
7 | 8979 | 1628 | 7351 | 3498 | 0 | 578 | 0 | 6773 | 1693 | 5080 | 6264 | -27453
8 | 8934 | 1661 | 7274 | 3498 | 0 | 566 | 0 | 6707 | 1677 | 5030 | 7940 | -22423
9 | 8890 | 1694 | 7196 | 3498 | 0 | 555 | 0 | 6641 | 1660 | 4981 | 9601 | -17442
10 | 8845 | 1728 | 7117 | 3498 | 0 | 543 | 0 | 6574 | 1644 | 4931 | 11244 | -12511
11 | 8801 | 1762 | 7039 | 3498 | 0 | 531 | 0 | 6507 | 1627 | 4881 | 12871 | -7631
12 | 8757 | 1798 | 6959 | 3498 | 0 | 519 | 0 | 6440 | 1610 | 4830 | 14481 | -2801
13 | 8713 | 1833 | 6880 | 3498 | 0 | 507 | 0 | 6372 | 1593 | 4779 | 16074 | 1979
14 | 8670 | 1870 | 6799 | 3498 | 0 | 495 | 0 | 6304 | 1576 | 4728 | 17650 | 6707
15 | 8626 | 1908 | 6719 | 3498 | 0 | 483 | 0 | 6235 | 1559 | 4677 | 19209 | 11383
16 | 8583 | 1946 | 6637 | 3634 | 0 | 451 | 0 | 6187 | 1547 | 4640 | 20756 | 16023
17 | 8540 | 1985 | 6555 | 3634 | 0 | 438 | 0 | 6117 | 1529 | 4588 | 22285 | 20611
18 | 8497 | 2024 | 6473 | 3634 | 0 | 426 | 0 | 6047 | 1512 | 4535 | 23797 | 25147
19 | 8455 | 2065 | 6390 | 3634 | 0 | 413 | 0 | 5977 | 1494 | 4482 | 25291 | 29629
20 | 8413 | 2106 | 6307 | 3634 | 0 | 401 | 0 | 5906 | 1476 | 4429 | 26767 | 34058
21 | 8371 | 2148 | 6222 | 3634 | 0 | 388 | 0 | 5834 | 1459 | 4376 | 28226 | 38434
22 | 8329 | 2191 | 6138 | 3634 | 0 | 376 | 0 | 5762 | 1440 | 4321 | 29666 | 42755
23 | 8287 | 2235 | 6052 | 3634 | 0 | 363 | 0 | 5689 | 1422 | 4267 | 31089 | 47022
24 | 8246 | 2280 | 5966 | 3634 | 0 | 350 | 0 | 5616 | 1404 | 4212 | 32493 | 51234
25 | 8204 | 2325 | 5879 | 3634 | 0 | 337 | 0 | 5542 | 1386 | 4157 | 33878 | 55391
25-YR TOTAL | 217969 | 44800 | 173169 | 88799 | 0 | 12656 | 0 | 160514 | 58878 | 101635
Green=partner capital recovered · Yellow=BESS replacement Y16 · Waterfall: all FCFE to partner until €25M recovered then 25/75 split

## Returns Summary
Avdellero 45 MW — Investor Returns (Waterfall Structure)
Current DAM €147 · 15% aggregator · 1,800 kWh/kWp · Trina 600W bifacial · CIT 15% · Sep 2026
Metric | WITH Bank (Alpha 4.12%) | NO Bank (Pure Equity) | Notes
CAPEX & FINANCING
Total CAPEX | 71244000 | 71244000 | Same in both scenarios
Alpha Bank loan | 33907500 | 0 | No bank in pure equity
Alpha Bank PMT | 3075323 | 0 | €3.08M/yr for 15yr
Equity partner | 25000000 | 25000000 | €25M in both
Lighthief equity | 12336500 | 46244000 | Bank saves €34M equity!
YEAR 1
Net revenue Y1 | 9253248 | 9253248 | Identical
EBITDA Y1 | 8096907 | 8096907 | Identical
FCFE Y1 | 4541230 | 7407005 | Higher no-bank (no debt service)
EQUITY PARTNER RETURNS — €25M → 25% SPV
Partner cash Y1 (waterfall phase) | 4541230 | 7407005
Partner cash-on-cash Y1 | 18.16% | 29.63% | % of €25M
Partner IRR (25yr) | 8.144% | 15.03% | Waterfall then 25%
Partner payback (year) | 6 | 4
Total partner cash 25yr | 42632100 | 58878384
DEVELOPER RETURNS — 75% SPV
Lighthief equity | 12336500 | 46244000
Developer cash Y1 | 0 | 0 | €0 during waterfall payback phase
Developer avg Y6-25 | 2644815 | 4652639 | After payback period
Total developer cash 25yr | 52896300 | 101635153
25-YEAR TOTALS
Revenue | 217969064 | 217969064
OPEX | 44799985 | 44799985
EBITDA | 173169079 | 173169079
CIT tax | 10202982 | 12655542
Total FCFE | 95528400 | 160513537