## Quote 3.2MWp + BESS EPC
Ref | Equipment / Scope | Qty | Unit basis | Unit buy € | Source / note | Ext. buy € | Margin | Unit sell € | Line sell €
SECTION A — Solar PV ~3.2 MWp
1 | PV modules — AE Solar Meteor AE630CMER-132BDS 630W TopCon bifacial (GG), EXW Rotterdam | 5080 | €/module | 69.3 | AE Solar offer EXW; 5080×630W = 3.2004 MWp | 352044 | +25% | 86.625 | 440055
2 | String inverters — Huawei SUN2000-115KTL-M2, 115 kWac, 10 MPPT (27 units → 3.105 MWac; DC/AC 1.03) | 27 | €/unit | 3661.36 | Trikkis pallet (3p) buy | 98856.72 | +25% | 4576.7 | 123570.9
2a | Plant controller — Huawei SmartLogger 3000A03EU | 1 | €/unit | 839.3 | Trikkis A8 wholesale | 839.3 | +25% | 1049.125 | 1049.12
3 | Ground-mount structure — Helios 1-pole 2×portrait complete system (2,540 tables) | 2540 | €/table | 40 | Trikkis Helios wholesale | 101600 | +25% | 50 | 127000
4 | DC cabling — PV field (~32 km, supply) | 32238 | €/m | 0.85 | Typical indicative | 27402.3 | +25% | 1.0625 | 34252.88
5 | AC cabling — LV (~8 km, supply) | 8000 | €/m | 3 | Typical indicative | 24000 | +25% | 3.75 | 30000
6 | BOS — cable trays, connectors, clamps, conduits, enclosures | 1 | lump | 25000 | Typical placeholder | 25000 | +25% | 31250 | 31250
7 | Main LV switchboard + SCADA interface | 1 | lump | 45000 | Typical placeholder | 45000 | +25% | 56250 | 56250
8 | Earthing & lightning protection — PV array / inverter area | 1 | lump | 15000 | Typical placeholder | 15000 | +25% | 18750 | 18750
9 | Fire detection & suppression system — PV site | 1 | lump | 28000 | Typical ~3 MWp class | 28000 | +25% | 35000 | 35000
10 | CCTV & perimeter security system | 1 | lump | 18000 | Typical benchmark | 18000 | +25% | 22500 | 22500
11 | Civil works — levelling, access roads, hardstands, drainage | 1 | lump | 65000 | Typical benchmark (excl. MV station civil) | 65000 | +25% | 81250 | 81250
12 | Commissioning, EAC energisation & handover documentation | 1 | lump | 40000 | Typical benchmark | 40000 | +25% | 50000 | 50000
13 | MV substation — LV/MV step-up transformer + MV switchgear + kiosk civil works (~11 kV) | 1 | lump | 140000 | Internal model fixed/site (solarpark-epc.md §2.4) | 140000 | +25% | 175000 | 175000
14 | MV cable — substation to point of interconnection (variable, 3.2 MWp) | 1 | lump | 32000 | €10k/MWp × 3.2 (internal model) | 32000 | +25% | 40000 | 40000
15 | DSO grid-connection contribution — EAC POI works [TBC — subject to capacity study] | 1 | lump | 35000 | Indicative; can range €20–300k+ depending on grid proximity. Confirm with EAC before contract. | 35000 | +25% | 43750 | 43750
16 | EAC metering cubicle — meter box, CT/VT, official seal | 1 | lump | 10000 | Typical EAC requirement | 10000 | +25% | 12500 | 12500
17 | Licensed electrical engineer — design, SLDs, EAC application, co-ordination | 1 | lump | 20000 | Owner sub or Lighthief engagement | 20000 | +25% | 25000 | 25000
18 | Construction insurance — CAR + Third Party Liability (project duration) | 1 | lump | 15000 | ~0.5–1% of project value | 15000 | +25% | 18750 | 18750
19 | Perimeter fencing — chain-link 1.5 m final height (~700 m perimeter) | 700 | €/m | 14.29 | Trikkis fencing list €14.29/m | 10003 | +25% | 17.8625 | 12503.75
20 | Spare parts & consumables kit — fuses, MC4 connectors, string combiner spares | 1 | lump | 5000 | Typical client handover requirement | 5000 | +25% | Section A sub-total | 1384681.65
SECTION B — BESS installation scope (1 MW / 4 MWh, client-supplied hardware)
B1 | Civil works — reinforced concrete pads (2×20 ft containers + MV skid) | 1 | lump | 52000 | Internal benchmark | 52000 | +25% | 65000 | 65000
B2 | Logistics — port handling, customs, heavy transport to site | 1 | lump | 5690 | Training guide scaled | 5690 | +25% | 7112.5 | 7112.5
B3 | LV cabling & cable tray within BESS yard | 1 | lump | 6500 | Adder scaled | 6500 | +25% | 8125 | 8125
B4 | MV feeder cable + terminations (skid → point of interconnection) | 1 | lump | 5700 | Template adders | 5700 | +25% | 7125 | 7125
B5 | Protection engineering (relay settings, co-ordination study) | 1 | lump | 5500 | Typical | 5500 | +25% | 6875 | 6875
B6 | Remote trip interface + UPS / auxiliary power supply | 1 | lump | 5300 | Template | 5300 | +25% | 6625 | 6625
B7 | Lightning protection (LPS), surge protection (SPD) & earthing system | 1 | lump | 28000 | Subcontract lump | 28000 | +25% | 35000 | 35000
B8 | BESS commissioning support & acceptance testing (client equipment) | 1 | lump | 18000 | Typical | 18000 | +25% | GRAND TOTAL (excl. VAT) | 1543044.15

## Margin summary
Section | Buy € | Sell € | GP € | GP %
Section A — PV | 1107745.32 | 1384681.65 | 276936.33 | 20%
Section B — BESS EPC | 126690 | 158362.5 | 31672.5 | 20%
GRAND TOTAL | 1234435.32 | 1543044.15 | 308608.83 | 20%