## Inputs
ANARITA 10 MW — PV + BESS REFINANCING MODEL
Prepared for: Muminjon (Spanercom) ¦ Lighthief Cyprus Ltd ¦ March 2026
Yellow cells are modifiable inputs
PV PARK |  |  |  | SOH Data
Parameter | Value | Unit | Notes | 100%
PV Installed Capacity | 10 | MW | Client | 94.62%
PV Value per MW | 1525000 | EUR/MW | Client estimate | 92.66%
Total PV Asset Value |  | EUR |  | 90.7%
Annual PV Production (PVSyst) | 19320 | MWh | Verified May-24 to Oct-25 | 88.74%
PV Degradation | 0.5% |  | 0.5%/yr | 86.78%
PV Revenue Price (solar-hour avg) | 140.88 | EUR/MWh | TSOC DAM 134-day verified (06:00-17:00) | 85.34%
PV Annual O&M (estimated) | 90000 | EUR/yr | Industry estimate for 10 MW | 83.9%
82.46%
BESS SYSTEM (Option B: 10 MW / 30 MWh) |  |  |  | 81.02%
BESS Power | 10 | MW |  | 79.58%
BESS Energy | 30 | MWh | 6 x 5 MWh containers | 78.39%
BESS Duration | 3 | hours |  | 77.2%
BESS EPC Price | 4040500 | EUR | Offer LCY-OFFER-MUMINJON-2026-03-01 | 76.01%
Peak Discharge Price | 182.99 | EUR/MWh | TSOC DAM 134-day avg (17:00-21:00) | 74.82%
Round-Trip Efficiency (RTE) | 86.32% |  | Linyang AC-AC full system | 73.61%
Net Revenue per MWh Stored |  | EUR/MWh
BESS Availability | 97% |  | 97% guaranteed (LTSA)
Curtailment Rate | 50% |  | Current park baseline (modifiable)
LTSA Cost Rate | 2469.59 | EUR/MWh/yr | Confirmed Linyang RFI V3
BESS Insurance | 15000 | EUR/yr | Budget estimate
BESS Annual O&M |  | EUR/yr
FINANCING
Existing PV Loan Balance | 6000000 | EUR | Current: 10yr (2026-2035), 3.13%, semi-annual €400K installments
BESS Investment |  | EUR
Target LTV | 70% |  | Loan-to-Value target on combined PV+BESS assets
Total New Facility |  | EUR
Interest Rate | 3.13% |  | 3.13% fixed
Loan Term | 15 | years | Matching BESS operational life
Annual Annuity Payment |  | EUR | PMT formula: P × r(1+r)^n / ((1+r)^n - 1)
Cash Released to Client |  | EUR
LTV (PV only) |  |  | Should be < 80% for most lenders
LTV (PV + BESS combined)

## Combined Cashflow
15-YEAR COMBINED PV + BESS CASHFLOW
All formulas reference the Inputs sheet
Year | PV Prod (MWh) | PV Revenue (EUR) | BESS Captured (MWh) | BESS Dischgd (MWh) | BESS Revenue (EUR) | Total Revenue (EUR) | PV O&M (EUR) | BESS O&M (EUR) | EBITDA (EUR) | Debt Service (EUR) | Net After Debt (EUR) | DSCR
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
TOTAL
MIN DSCR

## Debt Schedule
DEBT AMORTISATION SCHEDULE
Year | Opening Balance | Interest (3.13%) | Principal | Annuity Payment | Closing Balance
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
TOTAL
Total Interest Paid

## Sensitivity
SENSITIVITY ANALYSIS
DSCR BY CURTAILMENT RATE (Year 1)
Curtailment Rate | 45% | 50% | 55% | 60% | 70%
PV Revenue (EUR)
Annual Curtailed (MWh)
BESS Revenue (EUR)
Total Revenue (EUR)
Total O&M (EUR)
EBITDA (EUR)
Annual Debt Service (EUR)
DSCR
Net Free Cash After Debt (EUR)
WITHOUT BESS vs WITH BESS (at 50% curtailment)
| Without BESS | With BESS | Delta
Loan Amount
Annual Debt Service
PV Revenue (Year 1)
BESS Revenue (Year 1) | 0
Total Revenue
Total O&M
EBITDA
Net After Debt
DSCR

## Bankability
BANKABILITY SUMMARY — FOR LENDER REVIEW
Spanercom / Anarita 10 MW PV + 30 MWh BESS Refinancing
ASSET VALUATION
PV Park (10 MW x EUR 1.4M/MW)
BESS System (10 MW / 30 MWh EPC)
Total Asset Value
Total Loan Facility
Cash Released to Client
LTV (PV + BESS combined)
BESS PERFORMANCE GUARANTEES
OEM | Linyang Energy (Shanghai-listed, revenue >US$3B)
Performance Bond | 5% corporate bank guarantee from Linyang Energy
Base Warranty | 5 years included in EPC price
Extended Warranty | Available to 15 years at confirmed OEM rates
Availability Guarantee | 97% annual system availability with LDs for shortfall
SOH Guarantee | Per Linyang degradation curve; shortfall = EUR 30/MWh/day LD
Delay LDs | 0.1-0.2% of contract value/day, capped at 10%
Grid Code Certification | TUV EN 50549-2:2019/A1:2023 (cert D 115067 0077)
EPC Insurance | CAR/EAR + Third Party Liability during construction
Marine Cargo | Covered by OEM under CIF Limassol terms
Local O&M | Lighthief Cyprus — 6 field engineers, Limassol spare parts warehouse
Monitoring | 24/7/365 via Voltus SCADA + Linyang Cloud EMS
Response Time | 4 hours remote / 8 hours on-site (critical alarms)
PCS Technology | Kehua BCS1250K-C-HUD (C-series, grid-following + grid-forming)
Battery Chemistry | LFP (Lithium Iron Phosphate) — no cobalt, non-flammable
Fire Suppression | Integrated aerosol + gas detection per container
End of Life | Free collection and recycling/cashback by Lighthief at EOL
KEY FINANCIAL METRICS
Annual Debt Service
Year 1 DSCR (at 50% curtailment)
Average 15-Year DSCR
Minimum DSCR (any year)
15-Year Total Net Free Cash

## With vs Without BESS
15-YEAR COMPARISON: PV ONLY vs PV + BESS
Year | PV Revenue | Debt (PV only) | Net (PV only) | Debt (PV+BESS) | BESS Revenue | Net (PV+BESS)
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
TOTAL
DELTA | Additional 15-year free cash from adding BESS: